## 011 thermost cross ref
011Thermostates & Wire | [16 empty] | Accessories
Info from Spire June 05, 2024 | [16 empty] | Thermostats
Wires
! Special notes for sale ! | [16 empty] | Humidity Controllers
No | NSC SKU | NSC Description | Vendor No | Vendor name | Product Type | Type | Stage | Mounting | Power Method | Volts | Size | Wi-Fi | Emerson/ White Rodgers SKU | Honeywell SKU | RobertShaw SKU | Notes
1 | 1E30N311 | 011 - VERTICLE HEAT ONLY T-STAT | EME100 | Emerson (White-Rodgers) | Thermostats | Mechanical | 1H/0C | Vertical | Hardwire | 750 mV, 24V | 4.5"x2.75"x1.5" | No | 1E30N-311 | T822K1018 (USA) T822K1034 (Canada) | 9204V
2 | 1E56N361 | 011 - VERTICLE H/C THERMOSTAT W/R MECHANICAL BI METAL | EME100 | Emerson (White-Rodgers) | Thermostats | Mechanical | 1H/1C Heat Pump (No Aux) | Vertical | Hardwire | 751 mV, 24V | 4.5"x2.75"x1.5" | No | 1E56N-361 | T834N1002 (USA) T834N1010 (Canada) | 9200V
3 | 1E78140 | 011 - NON-PROG.VERT.HEAT ONLY SERIES 70 | EME100 | Emerson (White-Rodgers) | Thermostats | Digital Non Programmable | 1H/0C | Vertical | Battery | 24V | 5-5/16"x 3-3/16"x1-1/8" | No | 1E78-140 | TH1100DV1000 (Dual Powered)
4 | TH1100DV1000 | 011 - PRO1000 HEAT ONLY DIGITAL NON-PROG VERT STAT | NEU100 | Honeywell | Thermostats | Digital Non Programmable | 1H/0C | Vertical | Hardwire / Battery | 750 mV, 24V | 4-11/16"x2-7/8"x1-1/8" | No | 1E78-140 (Battery) | TH1100DV1000 |  | only in Timmins
5 | 1E78144 | 011 - VERT.DIGIT.NON-PROG.H/C SERIES70 T-STAT | EME100 | Emerson (White-Rodgers) | Thermostats | Digital Non Programmable | 1H/1C | Vertical | Battery | 24V | 5-5/16"x 3-3/16"x1-1/8" | No | 1E78-144 | TH1110DV1009 (Dual Powered)
6 | TH1110DV1009 | 011 - 1H/1C NON-PROGRAM T-STAT | HON100 | Honeywell | Thermostats | Digital Non Programmable | 1H/1C Heat Pump (No Aux) | Vertical | Hardwire / Battery | 750 mV, 24V | 4-11/16"x2-7/8"x1-1/8" | No | 1E78-144 (Battery) | TH1110DV1009 |  | only in Timmins
7 | 1E78151 | 011 - VERT.PROGRAMABLE H/C SERIES70 T-STAT. | EME100 | Emerson (White-Rodgers) | Thermostats | Digital Programmable | 1H/1C | Vertical | Battery | 24V | 5-5/16"x 3-3/16"x1-1/8" | No | 1E78-151 | TH2110DV1008 (Dual Powered) |  | 5-2 Day
8 | TH2110DV1008 | 011 - 1H/1C PROGRAM VERT. | HON100 | Honeywell | Thermostats | Digital Programmable | 1H/1C | Vertical | Hardwire / Battery | 750 mV, 24V | 4-11/16"x2-7/8"x1-1/8" | No | 1E78-151 (Battery) | TH2110DV1008 | RS9110 | only in Timmins 5-2 Day
9 | 1F56N361 | 011 - HORIZONTAL H/C THERMOSTAT W/R MECHANICAL BI METAL | EME100 | Emerson (White-Rodgers) | Thermostats | Mechanical | 1H/1C Heat Pump (No Aux) | Horizontal | Hardwire | 750 mV, 24V | 2.75"x4.5"x1.5" | No | 1F56N-361 | T8034N1007 (USA) T8034N1015 (Canada) | 9200H
10 | 1F78144 | 011 - HORIZ.DIGIT.NON-PROG.H/C SERIES70 T-STAT | EME100 | Emerson (White-Rodgers) | Thermostats | Digital Non Programmable | 1H/1C (Conventional) 1H/1C (Heat Pump) | Horizontal | Battery | mV - 24V | 3.19"x5.13"x1.13" | No | 1F78-144 | TH3110D1008 (Dual Powered)
11 | 1F78151 | 011 - HORIZ.PROGRAMABLE H/C SERIES70 T-STAT | EME100 | Emerson (White-Rodgers) | Thermostats | Digital Programmable | 1H/1C (Conventional) 1H/1C (Heat Pump) | Horizontal | Battery | mV - 24V | 3.19"x5.13"x1.13" | No | 1F78-151 | TH2110DH1002 | RS1110 | 5-2 Day
12 | 1F83C11NP | 011 - W.R. 1HEAT/1COOL NON-PROGRAMMABLE STAT | EME100 | Emerson (White-Rodgers) | Thermostats | Digital Non Programmable | 1H/1C (Conventional) 1H/1C (Heat Pump) | Horizontal | Hardwire / Battery | mV - 30V (Battery) 20 - 30V (Hardwire) | 3-3/4"x6"x1-1/8" | No | 1F83C-11NP | TH3110U2008 | RS8110
13 | 1F85U22NP | 011 - 2STG NON PRGL /W LOCKOUT KEY PAD LOCKOUT T-STAT | EME100 | Emerson (White-Rodgers) | Thermostats | Digital Non Programmable | 2H/2C (Conventional) 2H/1C (Heat Pump) | Horizontal | Hardwire / Battery | mV - 30V (Battery) 20 - 30V (Hardwire) | 3-3/4"x6"x1-1/8" | No | 1F85U-22NP | TH3210U2004 TH5220D1029 (USA) TH5220D1037 (Canada) TH5220D1003 (USA) TH5220D1011 (Canada) | RS8210
14 | TH5220D1029 | 011 - DIG.2H/2C,NON-PROG.T-STAT FOCUS-PRO SERIES | NEU100 | Honeywell | Thermostats | Digital Non Programmable | 2H/2C (Conventional) 2H/1C (Heat Pump) | Horizontal | Hardwire / Battery | 750 mV, 24V | 3.26"x5.81"x1.5" | No | 1F85U-22NP | TH3210U2004 TH5220D1029 (USA) TH5220D1037 (Canada) TH5220D1003 (USA) TH5220D1011 (Canada) | RS8210
15 | TH5220D1003 | 011 - DIG.2H/2C,NON-PROG.T-STAT FOCUS-PRO SERIES | HON100 | Honeywell | Thermostats | Digital Non Programmable | 2H/2C (Conventional) 2H/1C (Heat Pump) | Horizontal | Hardwire / Battery | 751 mV, 24V | 3.26"x5.81"x1.5" | No | 1F85U-22NP | TH3210U2004 TH5220D1029 (USA) TH5220D1037 (Canada) TH5220D1003 (USA) TH5220D1011 (Canada) | RS8210 | discontined by manufacturer
16 | 1F87U42WFC | 011 - SENSI WiFi 4H/2C PRGMBL T-STAT W/R SENSI STAT | EME100 | Emerson (White-Rodgers) | Thermostats | Wi-Fi Programmable | 1H/1C (Conventional) 2H/2C (Multi) 4H/2C (Heat Pump) | Horizontal | Hardwire / Battery | 20 - 30V | 3.75"x5.88"x1" | Yes | 1F87U-42WFC | TH6320WF1005 TH8321WF1001 | RS10420T RS10421T | 7 Day
17 | T651A3018 | 011 - H/W SPDT LINE VOLT STAT. LIGHT DUTY | NEU100 | Honeywell | Thermostats | Medium Duty Line Voltage | Heat-Cool, SPDT | Horizontal / Vertical | Hardwire | 120V, 208V, 240V, 277V | 4-17/32"x2-13/16"x1-1/8" | No | 01 79 001S1 | T651A3018
18 | T87K1007 | 011 - H/W"THE ROUND" HEAT ONLY SP/ST THERMOSTAT | NEU100 | Honeywell | Thermostats | Non Programmable | 1H/0C | Round | Battery Assisted Power Stealing | 24V | 3-11/16" (diameter)x1 -3/4" (deep) | No |  | T87K1007 (USA) T87K1015 (Canada)
19 | T87N1000 | 011 - ROUND H/C FAN ON/AUTO TST ROUND THERMOSTAT WHITE | NEU100 | Honeywell | Thermostats | Non Programmable | 1H/1C | Round | Battery Assisted Power Stealing | 24V | 3-11/16" (diameter)x1 -3/4" (deep) | No |  | T87N1000 (USA) T87N1018 (Canada)
20 | TH5110D1006 | 011 - DIGITAL NON-PROG.T-STAT, ALL SINGLE STAGE APPL. | HON100 | Honeywell | Thermostats | Digital Non Programmable | 1H/1C (Conventional) 1H/1C (Heat Pump) | Horizontal | Hardwire / Battery | 750 mV, 24V | 3-7/16"x4-1/2"x1-5/16" | No | 1F86-0244 | TH5110D1006 (USA) TH5110D1014 (Canada) TH5110D1022 (USA) TH5110D1030 (Canada) | RS8110 | discontined by manufacturer
21 | TH5110D1022 | 011-DIGITAL NON-PROGRAMMABLE 1H/1C LARGE DISPLAY THERMOSTAT 24V/750mV | NEU100 | Honeywell | Thermostats | Digital Non Programmable | 1H/1C (Conventional) 1H/1C (Heat Pump) | Horizontal | Hardwire / Battery | 750 mV, 24V | 3-7/16"x4-1/2"x1-5/16" | No | 1F86-0244 | TH5110D1006 (USA) TH5110D1014 (Canada) TH5110D1022 (USA) TH5110D1030 (Canada) | RS8110
22 | TH6110D1005 | 011 - DIG.1H/1C,PROGRAM.T-STAT FOCUS-PRO 6000 | HON100 | Honeywell | Thermostats | Digital Programmable | 1H/1C (Conventional) 1H/1C (Heat Pump) | Horizontal | Hardwire / Battery | 750 mV, 24V | 3-9/16"x5-13/16"x1-1/2" | No | 1F83C-11PR 1F75C-11PR 1F80-0261 1F80-361 | TH6110D1005 (USA) TH6110D1013 (Canada) TH6110D1021 | RS9110 | discontined by manufacturer 5-1-1 Day, 5-2 Day
23 | 1F83C11PR | 011 - W.R. 1HEAT/1COOL DIGITAL PROGRAMABLE THERMOSTAT | EME100 | Emerson (White-Rodgers) | Thermostats | Digital Programmable | 1H/1C (Conventional) 1H/1C (Heat Pump) | Horizontal | Hardwire / Battery | 24V | 3-3/4"x 6"x 1-1/8 | No | 1F83C-11PR 1F75C-11PR 1F80-0261 1F80-361 | TH6110D1005 (USA) TH6110D1013 (Canada) TH6110D1021 | RS9110 | no movement in Spire only in Timmins 7 Day, 5-1-1 Day, NP
24 | TH6220U2000 | 011 - T6 PRO 2H/2C PRGM T-STAT | HON100 | Honeywell | Thermostats | Digital Programmable | 2H/2C (Conventional) 2H/1C (Heat Pump) | UWP Square | Hardwire / Battery | 20 - 30V | 4-1/16"x4-1/16"x 1-3/32" | No | 1F85U-22PR | TH6220U2000 |  | 7-day, 5-2, 5-1-1 or non-programmable
25 | TH8320R1003 | 011 - PRO8000,MULTI-STAGE PRGMB 7-DAY,REDLINK T-STAT | NEU100 | Honeywell | Thermostats | Digital, RedLINK Programmable | 2H/2C (Conventional) 3H/2C (Heat Pump) | Horizontal | Hardwire / Battery | 750 mV, 24V | 4-5/8"x4-15/16"x1-1/8" | No | 1F95-1277 | TH8320R1003 | RS10420T | 7 Day
26 | YTHX9421R5101WW | 011 - H/W 4H/2C PRGM TOUCH TST C/W WIRELESS OUTDOOR SNR | HON100 | Honeywell | Thermostats | Digital, RedLINK Programmable | 3H/2C (Conventional) 4H/2C (Heat Pump) | Horizontal | Hardwire | 24V | 3-1/2"x4-1/2"x 7/8" | Yes | 1F95U-42WFC | YTHX9421R5101WW |  | no movement in Spire 7 Day
27 | 1F850477 | 011 - STAT PROGRAM 7 DAY/5+1+1 TOUCH SCREEN 3 HT 2 CL | EME100 | Emerson (White-Rodgers) | Thermostats | Programmable | 2H/2C (Conventional) 3H/2C (Heat Pump) | Horizontal | Hardwire / Battery | 24V | 3-7/16"x 4-7/16"x 1-1/4" | No | 1F85-0477 1F85U-42PR | TH6320U1000 (Square) TH6320U2008 (Square) | RS9320T RS9423T | no movement in Spire discontinued by manufacturer only in Timmins 7 Day, 5-1-1 Day, NP
28 | 1F85U42PR | 011 - 4H/2C PROG UNIVERSAL STAT | EME100 | Emerson (White-Rodgers) | Thermostats | Programmable | 1H/1C (Conventional) 2H/2C (Multi) 4H/2C (Heat Pump) | Horizontal | Hardwire / Battery | 24V | 3.75"x5.58"x1.13" | No | 1F85-0477 1F85U-42PR | TH6320U1000 (Square) TH6320U2008 (Square) | RS9320T RS9423T | only in Timmins 7 Day, 5-1-1 Day, NP
29 | T651A3026 | 011 - LINE VOLTAGE TSTAT 120V | NEU100 | Honeywell | Thermostats | Light Duty Line Voltage | Heat-Cool, SPDT | Vertical | Hardwire | 120V, 208V, 240V, 277V | 4-1/2"x2-15/16"x1-1/2" | No | 01A10 651S1 | T651A3026 |  | only in Timmins
30 | TL8230A1003 | 011 - THERMOSTAT ELECTRIC 240V 7 DAY WITH OFF POSITION | HON100 | Honeywell | Thermostats | Digital Line Voltage Programmable | Heat only, DPST | Vertical | Hardwire | 208V, 240V | 4-1/8"x2-3/4"x7/8" | No |  | TL8230A1003 |  | only in Timmins
31 | TH8110U1003 | 011 - TSTAT 1H/1C TOUCHSCREEN PROGRAMMABLE | SYS200 | Honeywell | Thermostats | Programmable | 1H/1C | Horizontal | Hardwire / Battery | 750 mV, 24V | 4-9/16"x6"x1-1/4" | No | 1F97-1277 1F97-1271 | TH8110U1003 (USA) TH8110U1011 (Canada) TH8110R1008 | RS9110T | no movement in Spire discontinued by manufacturer only in Timmins 7 Day

## 011 guards cross ref
011Thermostates & Wire | [13 empty] | Accessories
Info from Spire June 05, 2024 | [13 empty] | Thermostats
Wires
! Special notes for sale ! | [13 empty] | Humidity Controllers
No | Category number | Category name | NSC SKU | NSC Description | Vendor No | Vendor name | Product Type | Emerson/ White Rogers SKU | Honeywell SKU | Robert Shaw SKU | DiversiTech SKU | BEKO SKU | Notes
1 | 011 | Trermostates & Wire | TG512A1009 | 011 - 5-7/8"x8-3/8"T-STAT COVER | NEU100 | Honeywell | Guard Cover | F29-0198 | TG512A1009 | 190-068 | 585-TG | BTG-UK2
2 | 011 | Trermostates & Wire | F290143 | 011 - PLASTIC T-STAT.LOCK COVER 6.5"x3.5"x3" | EME100 | Emerson | Guard Cover | F29-0143 | TG500A1003 | 190-052 | 585-TG1 | BTG-RK
3 | 011 | Trermostates & Wire | 585TG6 | 011 - PLASTIC T-STAT LOCK.COVER SOLID & RING BASE INCLUDE |  | Diversitech | Guard Cover | F29-0231 |  | 190-056 | 585-TG6 | TG-DK
4 | 011 | Trermostates & Wire | TG511A1000 | 011 - UNIVERSAL T-STAT GUARD /W CLEAR COVER & BASE | NEU100 | Honeywell | Guard Cover |  | TG511A1000
5 | 011 | Trermostates & Wire | 585TG9 | 011 - METAL T-STAT LOCK COVER SOLID & RING BASE INCLUDE |  | Diversitech | Guard Cover | F29-0222 F29-0192 |  | 190-071 190-065 | 585-TG9 | BTG-UWM BTG-54VL
6 | 011 | Trermostates & Wire | TG510A1001 | 011 - UNIVERSAL T-STAT GUARD /W CLEAR COVER & BASE | HON100 | Honeywell | Guard Cover | F29-0227 | TG510A1001 |  | 585-TG2 | BTG-K | only in Timmins

## 011 accessories cross ref (2)
Accessories
Info from Spire June 05, 2024 | [16 empty] | Thermostats
Wires
! Special notes for sale ! | [16 empty] | Humidity Controllers
No | Category number | Category name | NSC SKU | NSC Description | Vendor No | Vendor name | Product Type | Specs | Emerson/ White Rogers SKU | Honeywell SKU | Robert Shaw SKU | Alltemp SKU | Anixter | Cerco Cable | Nordic Thechnology (Fast Stat) | Notes
1 | 011 | Trermostates & Wire | 14002053001 | 011 - PNU.BACKPLATE FOR TP97 MOUNTING PLATE | NEU100 | Honeywell | Back Plate Pneumatic Thermostat | Back Plate Assembly for Pneumatic Thermostats, Mounting Plate Works with Models TP970, TP971, TP972, TP973, TP9600 Family and the HP970 Family. |  | 14002053-001
1 | 011 | Trermostates & Wire | TP970A2020 | 011 - #TP970A2020,PNUEM.T-STAT | HON100 | Honeywell | Pneumatic Thermostats | Pneumatic Thermostat, Cover not included, Two-pipe, Single Setpoint, Direct Acting, 15C-30C |  | TP970A2020 | 2212-118 |  |  |  |  | only in Timmins
2 | 011 | Trermostates & Wire | 14004401002 | 011 - CONVERTASTAT 4x2 MNT PLT WALL PLATE FRO TP97 STAT | NEU100 | Honeywell | Wall Plate | Convertastat Wall Plate, Black |  | 14004401-002
3 | 011 | Trermostates & Wire | 14004406910 | 011 - TP SATIN CHROME COVER TP97 COVER /W INSERTS | NEU100 | Honeywell | Cover for Pneumatic Thermostat | Pneumatic Thermostat Cover Kit, Satin Chrome Works with Models TP970, TP971, TP972, TP973 and TP974 |  | 14004406-910 | [5 empty] | no movement in Spire
1 | 011 | Trermostates & Wire | 9C180209G | 011 - #18-2,300V,LVT WIRE(984'/ | ANI100 | Anixter Canada Inc. | Wires | Solid Bare Copper Conductors, PVC Insulation, Red PVC Jacket, 105°C, 300 V, CSA, 18 AWG, No. of Conductors: 2; Insulation Thickness: 0.015 in; Outer Jacket Thickness: 0.035 in; Nominal O.D.: 0.145 x 0.216 in |  |  |  |  | 9C180209
2 | 011 | Trermostates & Wire | 9C180301G | 011 - #18-3,300V,LVT WIRE(984'/ | ANI100 | Anixter Canada Inc. | Wires | Solid Bare Copper Conductors, PVC Insulation, Red PVC Jacket, 105°C, 300 V, CSA, 18 AWG, No. of Conductors: 3; Insulation Thickness: 0.015 in; Outer Jacket Thickness: 0.035 in; Nominal O.D.: 0.226 in |  |  |  |  | 9C180301 |  |  | no movement in Spire only in Timmins
3 | 011 | Trermostates & Wire | 9C180501G | 011 - #18-5,300V,LVT WIRE(984'/ | ANI100 | Anixter Canada Inc. | Wires | Solid Copper Conductor, PVC Insulation, FT4, 60°C, 30 V, CSA, 18 AWG; No of Conductors:5; Insulation Thickness: 0.015 in; Jacket Thickness: 0.030 in; Nominal O.D.: 0.264 in |  |  |  |  | 6T-1805LVT-07-FR
4 | 011 | Trermostates & Wire | 9C180803 | 011 - #18-8,300V,LVT WIRE(984'/ | ANI100 | Anixter Canada Inc. | Wires | Solid Bare Copper Conductors, PVC Insulation, Red PVC Jacket, 105°C, 300 V, CSA, 18 AWG, No. of Conductors: 8; Insulation Thickness: 0.015 in; Outer Jacket Thickness: 0.040 in; Nominal O.D.: 0.319 in |  |  |  |  | 9C180803
4 | 011 | Trermostates & Wire | H600A1014 | 011 - HUMIDITY/DEHUMID CNTRLLR HUMID.ON RISE/DEH ON FALL | NEU100 | Honeywell | Humidity Controllers | Fully enclosed, SPST, snap-acting, dust-proof switch, wall or surface duct mounting, Grey have a removable setting knob prevents tampering Operating Humidity Range: 20% to 80% RH 6-3/16" x 3-3/8" x 2-1/4" |  | H600A1014 | [5 empty] | discontined by manufacturer
5 | 011 | Trermostates & Wire | H6062A1000 | 011- HUMIDIPRO, DIGITAL HUMIDITY CONTROL 24VAC | NEU100 | Honeywell | Humidity Controllers | Digital Humidistat with Outdoor Sensor, 24 Vac, White Operating Humidity Range: Manual Mode: 10% to 90% RH% (Adjustable) Auto Mode: 10% to 60% RH% (35% Default) 3-7/16"x 4-1/2"x 1-5/16" |  | H6062A1000
6 | 011 | Trermostates & Wire | R841C1227 | 011 - HONEYWELL HEAT RELAY(240V C/W RELAY AND TRANSFORMER | HON100 | Honeywell | Heat Relay | Electric Heater Relay, SPST Switching, 24 V Coil Raiting Voltage 3-7/8" x 2-13/16" x 1-1/2" |  | R841C1227
7 | 011 | Trermostates & Wire | R841D1036 | 011 - HONEYWELL HEAT RELAY(24V) #R841D1044 | HON100 | Honeywell | Heat Relay | Electric Heater Relay, SPST Switching, 24 V Coil Raiting Voltage Includes Enclosure w/conduit bushing 3-7/8" x 2-13/16" x 1-1/2" |  | R841D1036
8 | 011 | Trermostates & Wire | THM6000R7001 | 011 - REDLINK INTERNET GATEWAY GATEWAY INTERNET MODEM | NEU100 | Honeywell | Internet Modem | Internet Gateway with Ethernet Cable and Power Cord, Includes 3 Foot Ethernet Cable and 5Vdc, 1000mA Plug in Power Adapter works with any Prestige® IAQ, Prestige®, FocusPRO® Smart and EConnect device |  | THM6000R7001 | [5 empty] | no movement in Spire
9 | 011 | Trermostates & Wire | 626910 | 011 - 5 CONDUCTOR STRANDED FT4 600V 18 GA GREY |  |  | Multi-Conductor | [8 empty] | no movement in Spire only in Timmins
5 | 011 | Trermostates & Wire | 122BX | 011 - 12/2 BX WIRE 75M ROLLS |  | ? | Wires | [8 empty] | only in Timmins
6 | 011 | Trermostates & Wire | CIC144TCER30075 | 011 - CABLE BLACK 4/14 GAUGE FOR MINISPLIT 600 VOLTS |  | Cerco Cable | Wires | MINI-SPLIT CABLE CSA TRAY CABLE EXPOSED RUN 300V -40°C CSA CIC 300V XLPE/TPE FT4 TC-ER 4/C 14 AWG Stranded Bare Soft Copper SBC Cross-linked Polyethylene Insulation FR Thermoplastic Outer Jacket, Black | [5 empty] | CERCO_CIC144TCER-300 |  | only in Timmins
10 | 011 | Trermostates & Wire | FASTSTAT3000 | 011 - FAST STAT 3000 ADD A WIRE EXPANDABLE THERMOSTAT DIG | DON100 | Nordic Thechnology (Fast Stat) | Fast Start | The Model 3000 provides two additional control wires between a thermostat and indoor unit, or indoor unit and outdoor unit. ● Compatible with all 24VAC heating and cooling systems | [6 empty] | FASTSTAT3000 | only in Timmins
7 | 011 | Trermostates & Wire | LVT182 | 011 - 18/2 LVT WIRE x 75 METER | IMP300 | Cerco Cable | Wires | [8 empty] | only in Timmins
8 | 011 | Trermostates & Wire | LVT183 | 011 - 18/3 LVT WIRE x 75 METER | IMP300 | Impulse Technologies | Wires | [8 empty] | only in Timmins
9 | 011 | Trermostates & Wire | LVT184 | 011 - 18/4 LVT WIRE x 75 METER | IMP300 | Impulse Technologies | Wires | [8 empty] | only in Timmins
10 | 011 | Trermostates & Wire | LVT185 | 011 - 18/5 LVT WIRE x 75 METER | IMP300 | Impulse Technologies | Wires | [8 empty] | only in Timmins
11 | 011 | Trermostates & Wire | LVT186 | 011 - 18/6 LVT WIRE x 75 METER | IMP300 | Impulse Technologies | Wires | [8 empty] | only in Timmins
12 | 011 | Trermostates & Wire | LVT188 | 011 - 18/8 LVT WIRE x 75 METER | IMP300 | Impulse Technologies | Wires | [8 empty] | only in Timmins
13 | 011 | Trermostates & Wire | NMD102 | 011 - NMD 10/2 AWG RED WIRE 75M ROLLS |  |  | Wires | [8 empty] | only in Timmins
14 | 011 | Trermostates & Wire | NMD122 | 011 - NMD 12/2 AWG RED WIRE 75M ROLLS |  |  | Wires | [8 empty] | only in Timmins
15 | 011 | Trermostates & Wire | NMD142 | 011 - NMD 14/2 AWG RED WIRE 75M ROLLS |  |  | Wires | [8 empty] | only in Timmins

## 011 sources
Manufacturer | Source 1 of SKU search | Source 2 of SKU search | Source 3 of SKU search | Source 4 of SKU search | Source 5 of SKU search | Source 6 of SKU search | Source 7 of SKU search
Honeywell | https://www.honeywellhome.com/us/en/products/air/thermostats/ | https://www.amresupply.com/catalog/Thermostats-650370 | https://customer.resideo.com/en-US/Pages/Product.aspx?cat=HonECC%2520Catalog&pid=R841C1227/U&category=R841&catpath=1.2.10.1.5# | https://customer.resideo.com/resources/Techlit/TechLitDocuments/50-0000s/50-1376.pdf | https://customer.resideo.com/resources/Techlit/TechLitDocuments/50-0000s/50-9542.pdf | https://d3nq8rpsskbdh6.cloudfront.net/userfiles/documents/ve/rs/ag/versaguard_specifications.pdf
Emerson (White Rogers) | https://www.amresupply.com/catalog/Thermostats-650370 | https://www.copeland.com/documents/mechanical-thermostats-catalog-en-us-1594424.pdf | https://www.copeland.com/en-ca/products/thermostats | https://www.copeland.com/documents/80-series-thermostats-catalog-en-1594386.pdf | https://www.copeland.com/documents/thermostat-guards-plastic-catalog-en-us-1568882.pdf | https://www.copeland.com/documents/classic-70-series-thermostats-spec-sheet-en-us-1568756.pdf | https://www.copeland.com/documents/thermostat-guards-plastic-catalog-en-us-1568882.pdf | https://www.copeland.com/documents/thermostat-guards-metal-catalog-en-us-1568880.pdf
RobertShaw | file:///C:/Users/IrynaNazarenko/Downloads/Robertshaw%202021%20Heating%20Catalog%20(150-2713).pdf
Alltemp | https://www.alltemp.ca/framework/uploads/2021/03/DOC139539-4.pdf | https://www.alltemp.ca/framework/uploads/2021/03/DOC139533-2.pdf | https://www.alltemp.ca/framework/uploads/2021/03/Issue-24.pdf
Anixter | https://www.anixter.com/content/dam/anixter/resources/catalogs/anixter-electrical-and-electronic-solutions-catalog-en-ca.pdf
Cerco Cable | https://d3nq8rpsskbdh6.cloudfront.net/userfiles/documents/ce/rc/o_/cerco+cic144tcer-300+(1).pdf
cross reference chart | https://www.copeland.com/documents/thermostat-cross-reference-en-5429960.pdf | https://www.denverwinair.com/literature/honeywell/thermostats/Catalog_Thermostat_Selection_Guide.pdf | https://www.robertshaw.com/Products/Cross-Reference/ | https://prostatplushvac.com/resources/resources-cross-reference/ | file:///C:/Users/IrynaNazarenko/Downloads/150-2805%20Thermostat%20Hang%20Card_Rev%20C.pdf

## Sheet1
The recommended value(s) for aspect Features:
Adjustable Thermostat;
App Control;
Automatic Changeover;
Automatic Shut Off;
Battery Backup;
Bluetooth;
Built-In WiFi;
Communicating;
Daylight Savings Time Ready;
Digital Display;
Energy Report;
Filter Replacement Indicator;
Fuzzy Logic;
Geofencing;
Lockable;
Low Battery Indicator;
Mini;
Night Light;
Open Window Detection;
Outdoor Temperature Display;
Overrun Timer;
Paintable;
Portable;
Remote Control;
Removable Interface;
Rotation Direction Indicator;
Smart Connectivity;
Timer;
Touch Screen;
USB Port;
Vacation Mode;
Weather Tracking;
Wi-Fi;
Wireless;
Z-Wave