{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["017 cross","017 sources","Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"017 cross","index":0,"n_rows":36,"n_cols":12,"rows_kept":36,"cut":false,"hidden":false,"merged":[]}
["No.","Category number","Category name","NSC SKU","NSC Description","Dimensions","Taff-guard SKU","Dafco\n SKU 1","Dafco\n SKU 2","AAF\n SKU","Camfil\nSKU","Notes"]
[1,"017","THROW AWAY FILTER","GTA10201","017 - 10\"X20\"X1\" GLASFLOSS T.A FILTER","10X20X1","DPST10201",null,"DISP1020-1","10055.011020","105528-9"]
[2,"017","THROW AWAY FILTER","GTA11201","017 - 11\"X20\"X1\" GLASFLOSS T.A FILTER","11X20X1","DPST11201",null,"DISP1120-1"]
[3,"017","THROW AWAY FILTER","GTA12201","017 - 12\"X20\"X1\" GLASFLOSS T.A FILTER","12X20X1","DPST12201",10003,"DISP 1220-1","10055.012424","105528-13"]
[4,"017","THROW AWAY FILTER","GTA12241","017 - 12\"X24\"X1\" GLASFLOSS T.A FILTER","12X24X1","DPST12241",10004,"DISP 1224-1","10055.011224","105528-14"]
[5,"017","THROW AWAY FILTER","GTA12242","017 - 12\"x24\"x2\" GLASFLOSS T.A FILTER","12x24x2","DPST12242",10044,"DISP 1224-2","10055.021224","105535-3"]
[6,"017","THROW AWAY FILTER","GTA12301","017 - 12\"X30\"X1\" GLASFLOSS T.A FILTER","12X30X1","DPST12301",null,"DISP1230-1","10055.011230"]
[7,"017","THROW AWAY FILTER","GTA14201","017 - 14\"X20\"X1\" GLASFLOSS T.A FILTER","14X20X1","DPST14201",10006,"DISP 1420-1","10055.011420"]
[8,"017","THROW AWAY FILTER","GTA14202","017 - 14\"X20\"X2\" GLASFLOSS T.A FILTER","14X20X2","DPST14202",10045,"DISP 1420-2","10055.021420"]
[9,"017","THROW AWAY FILTER","GTA14251","017 - 14\"x25\"x1\" GLASFLOSS T.A FILTER","14x25x1","DPST14251",10007,"DISP 1425-1","10055.011425","105528-17"]
[10,"017","THROW AWAY FILTER","GTA14252","017 - 14\"X25\"X2\" GLASFLOSS T.A FILTER","14X25X2","DPST14252",10046,"DISP 1425-2","10055.021425","105535-15"]
[11,"017","THROW AWAY FILTER","GTA15201","017 - 15\"X20\"X1\" GLASFLOSS T.A FILTER","15X20X1","DPST15201",10008,"DISP 1520-1","10055.011520"]
[12,"017","THROW AWAY FILTER","GTA15202","017 - 15\"x20\"x2\" GLASFLOSS T.A FILTER","15x20x2","DPST15202",10047,"DISP 1520-2","10055.021520","105535-5"]
[13,"017","THROW AWAY FILTER","GTA16161","017 - 16\"X16\"X1\" GLASFLOSS T.A FILTER","16X16X1","DPST16161",10019,"DISP 1616-1","10055.011616"]
[14,"017","THROW AWAY FILTER","GTA16162","017 - 16\"x16\"x2\" GLASFLOSS T.A FILTER","16x16x2","DPST16162",10100,"DISP 1616-2","10055.021616"]
[15,"017","THROW AWAY FILTER","GTA16201","017 - 16\"X20\"X1\" GLASFLOSS T.A FILTER","16X20X1","DPST16201",10009,"DISP 1620-1","10055.011620","105528-2"]
[16,"017","THROW AWAY FILTER","GTA16202","017 - 16\"X20\"X2\" GLASFLOSS T.A FILTER","16X20X2","DPST16202",10048,"DISP 1620-2","10055.021620","105535-6"]
[17,"017","THROW AWAY FILTER","GTA16241","017 - 16\"X24\"X1\" GLASFLOSS T.A FILTER","16X24X1","DPST16241",null,"DISP1624-1","10055.011624"]
[18,"017","THROW AWAY FILTER","GTA16242","017 - 16\"X24\"X2\" GLASFLOSS T.A FILTER","16X24X2","DPST16242",null,"DISP1624-2","10055.021624","105535-7"]
[19,"017","THROW AWAY FILTER","GTA16251","017 - 16\"X25\"X1\" GLASFLOSS T.A FILTER","16X25X1","DPST16251",10010,"DISP 1625-1","10055.011625","105528-14"]
[20,"017","THROW AWAY FILTER","GTA16252","017 - 16\"X25\"X2\" GLASFLOSS T.A FILTER","16X25X2","DPST16252",10049,"DISP 1625-2","10055.021625","105535-8"]
[21,"017","THROW AWAY FILTER","GTA18202","017 - 18\"X20\"X2\" GLASFLOSS T.A FILTER","18X20X2","DPST18202",null,"DISP1820-2"]
[22,"017","THROW AWAY FILTER","GTA18241","017 - 18\"X24\"X1\" GLASFLOSS T.A FILTER","18X24X1","DPST18241",10030,"DISP 1824-1","10055.011824"]
[23,"017","THROW AWAY FILTER","GTA18242","017 - 18\"X24\"X2\" GLASFLOSS T.A FILTER","18X24X2","DPST18242",10052,"DISP 1824-2","10055.021824"]
[24,"017","THROW AWAY FILTER","GTA18251","017 - 18\"X25\"X1\" GLASFLOSS T.A FILTER","18X25X1","DPST18251",null,"DISP1825-1","10055.011825"]
[25,"017","THROW AWAY FILTER","GTA2012211","017 - 20-1/2\"X21\"X1\" GLASFLOSS T.A FILTER","20-1/2X21X1",null,1043172]
[26,"017","THROW AWAY FILTER","GTA20201","017 - 20\"X20\"X1\" GLASFLOSS T.A FILTER","20X20X1","DPST20201",10011,"DISP 2020-1","10055.012020","105528-4"]
[27,"017","THROW AWAY FILTER","GTA20202","017 - 20\"X20\"X2\" GLASFLOSS T.A FILTER","20X20X2","DPST20202",10050,"DISP 2020-2","10055.022020"]
[28,"017","THROW AWAY FILTER","GTA20241","017 - 20\"X24\"X1\" GLASFLOSS T.A FILTER","20X24X1","DPST20241",null,"DISP2024-1","10055.012024","105535-6"]
[29,"017","THROW AWAY FILTER","GTA20242","017 - 20\"X24\"X2\" GLASFLOSS T.A FILTER","20X24X2","DPST20242",null,"DISP2024-2","10055.022024","105535-11"]
[30,"017","THROW AWAY FILTER","GTA20251","017 - 20\"X25\"X1\" GLASFLOSS T.A FILTER","20X25X1","DPST20251",10012,"DISP 2025-1","10055.012025","105535-7"]
[31,"017","THROW AWAY FILTER","GTA20252","017 - 20\"X25\"X2\" GLASFLOSS T.A FILTER","20X25X2","DPST20252",10054,"DISP 2025-2","10055.022025","105535-12"]
[32,"017","THROW AWAY FILTER","GTA20301","017 - 20\"X30\"X1\" GLASFLOSS T.A FILTER","20X30X1","DPST20301",null,"DISP2030-1","10055.012030"]
[33,"017","THROW AWAY FILTER","GTA20302","017 - 20\"x30\"x2\" GLASFLOSS T.A FILTER","20x30x2","DPST20302",null,"DISP2030-2","10055.022030"]
[34,"017","THROW AWAY FILTER","GTA24241","017 - 24\"X24\"X1\" GLASFLOSS T.A FILTER","24X24X1","DPST24241",10038,"DISP 2424-1","10055.012424","105528-29"]
[35,"017","THROW AWAY FILTER","GTA24242","017 - 24\"X24\"X2\" GLASFLOSS T.A FILTER","24X24X2","DPST24242",10055,"DISP 2424-2","10055.022424","105535-13"]

{"sheet":"017 sources","index":1,"n_rows":5,"n_cols":3,"rows_kept":5,"cut":false,"hidden":false,"merged":[]}
["Manufacturer","Source 1 of SKU search","Source 2 of SKU search"]
["Taff-guard"]
["Dafco","https://www.conney.com/product/dafco-aerostar-disposable-panel-filter-16-x-25-x-1 "]
["AAF","https://res.cloudinary.com/aafintl-dev/image/upload/v1692201047/EZ_Flow_II_AFP-1-392D.pdf?sf_dm_key=SFoO2nchnkam7D0pLUKoSZkrCo1gvBqf3oHuZhS4GjM1 ","https://www.rememberthefilter.com/collections/ez-flow?page=1 "]
["Camfil","https://www.tenaquip.com/category/air-filter?manufacturer=Camfil%7C%7Ccamfil&Filter_Type=Box&sort=price&direction=asc&page=1 "]

{"sheet":"Sheet1","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}