{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["018 cross ref","018 sources","Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"018 cross ref","index":0,"n_rows":70,"n_cols":12,"rows_kept":70,"cut":false,"hidden":false,"merged":[]}
["018 Pleated "]
["No","Category number","Category name","NSC SKU","NSC Description","Dimensions","MERV","Taff-guard SKU","Dafco SKU","AAF \nSKU","Camfil\nSKU","Notes"]
[1,"018","PLEATED FILTERS","DZ4010151","018 - 10X15X1 PLEATED AIR  FILTER 30-40% MERV 8","10X15X1",8,"PLM8-10151"]
[2,"018","PLEATED FILTERS","DZ4010201","018 - 10X20X1 PLEATED AIR FILTER 30-40% MERV 8","10X20X1",8,"PLM8-10201",10364,"173-200-011","119303-012"]
[3,"018","PLEATED FILTERS","DZ4010202","018 - 10X20X2 PLEATED AIR  FILTER 30-40% MERV 8","10X20X2",8,"PLM8-10202","10379","172-112-200",116300015]
[4,"018","PLEATED FILTERS","DZ4011201","018 - 11X20X1 PLEATED AIR  FILTER 30-40% MERV 8","11X20X1",8,"PLM8-11201"]
[5,"018","PLEATED FILTERS","DZ4012121","018 - 12X12X1 PLEATED AIR  FILTER 30-40% MERV 8","12X12X1",8,"PLM8-12121",10365,"173-303-011"]
[6,"018","PLEATED FILTERS","DZ4012201","018 - 12X20X1 PLEATED AIR  FILTER 30-40% MERV 8","12X20X1",8,"PLM8-12201",10366,"173-314-011","119303-018"]
[7,"018","PLEATED FILTERS","DZ4012202","018 - 12X20X2 PLEATED AIR  FILTER 30-40% MERV 8","12X20X2",8,"PLM8-12202",10419,"172-112-314",116300017]
[8,"018","PLEATED FILTERS","DZ4012241","018 - 12X24X1 PLEATED AIR  FILTER 30-40% MERV 8","12X24X1",8,"PLM8-12241",10367,"173-319-011","119303-009"]
[9,"018","PLEATED FILTERS","DZ4012242","018 - 12X24X2 PLEATED AIR  FILTER 30-40% MERV 8","12X24X2",8,"PLM8-12242","10380","172-112-319","116300-006"]
[10,"018","PLEATED FILTERS","DZ4012244","018 - 12X24X4 PLEATED AIR  FILTER 30-40% MERV 8","12X24X4",8,"PLM8-12244","10393",null,"116307-002","provided from manufacture in box of 6"]
[11,"018","PLEATED FILTERS","DZ4012252","018 - 12X25X2 PLEATED AIR  FILTER 30-40% MERV 8","12X25X2",8,"PLM8-12252",null,"172-112-321"]
[12,"018","PLEATED FILTERS","DZ4014201","018 - 14X20X1 PLEATED AIR  FILTER 30-40% MERV 8","14X20X1",8,"PLM8-14201",10369,"173-371-011","119303-006"]
[13,"018","PLEATED FILTERS","DZ4014202","018 - 14X20X2 PLEATED AIR  FILTER 30-40% MERV 8","14X20X2",8,"PLM8-14202",10381,"172-112-371",116300010]
[14,"018","PLEATED FILTERS","DZ4014251","018 - 14X25X1 PLEATED AIR  FILTER 30-40% MERV 8","14X25X1",8,"PLM8-14251",10370,"173-375-011","119303-011"]
[15,"018","PLEATED FILTERS","DZ4014252","018 - 14X25X2 PLEATED AIR  FILTER 30-40% MERV 8","14X25X2",8,"PLM8-14252",10382,"172-112-375","116300-011"]
[16,"018","PLEATED FILTERS","DZ4015201","018 - 15X20X1 PLEATED AIR  FILTER 30-40% MERV 8","15X20X1",8,"PLM8-15201",10371,"173-400-011","119303-008"]
[17,"018","PLEATED FILTERS","DZ4015202","018 - 15X20X2 PLEATED AIR  FILTER 30-40% MERV 8","15X20X2",8,"PLM8-15202","10383","172-112-400","116300-014"]
[18,"018","PLEATED FILTERS","DZ4016161","018 - 16X16X1 PLEATED AIR  FILTER 30-40% MERV 8","16X16X1",8,"PLM8-16161",10410,"173-448-011","119303-016"]
[19,"018","PLEATED FILTERS","DZ4016162","018 - 16X16X2 PLEATED AIR  FILTER 30-40% MERV 8","16X16X2",8,"PLM8-16162",10420,"172-112-448",116300016]
[20,"018","PLEATED FILTERS","DZ4016201","018 - 16X20X1 PLEATED AIR  FILTER 30-40% MERV 8","16X20X1",8,"PLM8-16201",10372,"173-500-011","119303-001"]
[21,"018","PLEATED FILTERS","DZ4016202","018 - 16X20X2 PLEATED AIR  FILTER 30-40% MERV 8","16X20X2",8,"PLM8-16202","10384","172-112-500","116300-001"]
[22,"018","PLEATED FILTERS","DZ4016204","018 - 16X20X4 PLEATED AIR  FILTER 30-40% MERV 8","16X20X4",8,"PLM8-16204","10394",null,"116307-004","provided from manufacture in box of 6"]
[23,"018","PLEATED FILTERS","DZ4016241","018 - 16X24X1 PLEATED AIR  FILTER 30-40% MERV 8","16X24X1",8,"PLM8-16241",10411,"173-524-011","119303-010"]
[24,"018","PLEATED FILTERS","DZ4016242","018 - 16X24X2 PLEATED AIR  FILTER 30-40% MERV 8","16X24X2",8,"PLM8-16242","10385","172-112-524","116300-012"]
[25,"018","PLEATED FILTERS","DZ4016251","018 - 16X25X1 PLEATED AIR  FILTER 30-40% MERV 8","16X25X1",8,"PLM8-16251",10373,"173-600-011","119303-004"]
[26,"018","PLEATED FILTERS","DZ4016252","018 - 16X25X2 PLEATED AIR  FILTER 30-40% MERV 8","16X25X2",8,"PLM8-16252","10386","172-112-600","116300020\n116300-004"]
[27,"018","PLEATED FILTERS","DZ4016254","018 - 16X25X4 PLEATED AIR  FILTER 30-40% MERV 8","16X25X4",8,"PLM8-16254",10395,null,"116307-013\n116307-005","provided from manufacture in box of 6"]
[28,"018","PLEATED FILTERS","DZ4016302","018 - 16X30X2 PLEATED AIR  FILTER 30-40% MERV 8","16X30X2",8,"PLM8-16302",null,"172-112-603"]
[29,"018","PLEATED FILTERS","DZ4018182","018 - 18X18X2 PLEATED AIR  FILTER 30-40% MERV 8","18X18X2",8,"PLM8-18182",null,"172-112-643"]
[30,"018","PLEATED FILTERS","DZ4018201","018 - 18X20X1 PLEATED AIR  FILTER 30-40% MERV 8","18X20X1",8,"PLM8-18201",10413,"173-627-011","119303-019"]
[31,"018","PLEATED FILTERS","DZ4018202","018 - 18X20X2 PLEATED AIR  FILTER 30-40% MERV 8","18X20X2",8,"PLM8-18202",null,"172-112-627","116300-018"]
[32,"018","PLEATED FILTERS","DZ4018204","018 - 18X20X4 PLEATED AIR  FILTER 30-40% MERV 8","18X20X4",8,"PLM8-18204",null,null,null,"provided from manufacture in box of 6"]
[33,"018","PLEATED FILTERS","DZ4018241","018 - 18X24x1 PLEATED AIR  FILTER 30-40% MERV 8","18X24x1",8,"PLM8-18241",10415,"173-635-011","119303-028"]
[34,"018","PLEATED FILTERS","DZ4018242","018 - 18X24X2 PLEATED AIR  FILTER 30-40% MERV 8","18X24X2",8,"PLM8-18242","10387","172-112-635","116300-008"]
[35,"018","PLEATED FILTERS","DZ4018244","018 - 18X24X4 PLEATED AIR  FILTER 30-40% MERV 8","18X24X4",8,"PLM8-18244","10396",null,"116307-009","provided from manufacture in box of 6"]
[36,"018","PLEATED FILTERS","DZ4018251","018 - 18X25X1 PLEATED AIR  FILTER 30-40% MERV 8","18X25X1",8,"PLM8-18251",10374,"173-631-011","119303-014"]
[37,"018","PLEATED FILTERS","DZ4018252","018 - 18X25X2 PLEATED AIR  FILTER 30-40% MERV 8","18X25X2",8,"PLM8-18252",10422,"172-112-631","116300-009"]
[38,"018","PLEATED FILTERS","DZ4020201","018 - 20X20X1 PLEATED AIR  FILTER 30-40% MERV 8","20X20X1",8,"PLM8-20201",10375,"173-700-011","119303-002"]
[39,"018","PLEATED FILTERS","DZ4020202","018 - 20X20X2 PLEATED AIR  FILTER 30-40% MERV 8","20X20X2",8,"PLM8-20202","10388","172-112-700","116300-002"]
[40,"018","PLEATED FILTERS","DZ4020204","018 - 20X20X4 PLEATED AIR  FILTER 30-40% MERV 8","20X20X4",8,"PLM8-20204",10397,null,"116307-003","provided from manufacture in box of 6"]
[41,"018","PLEATED FILTERS","DZ4020205","018 - 20X20X5 PLEATED FILTER MERV 8 PERFECT PLEAT","20x20x5",8,null,1019348]
[42,"018","PLEATED FILTERS","DZ4020241","018 - 20X24X1 PLEATED AIR  FILTER 30-40% MERV 8","20X24X1",8,"PLM8-20241",10416,"173-782-011","119303-007"]
[43,"018","PLEATED FILTERS","DZ4020242","018 - 20X24X2 PLEATED AIR  FILTER 30-40% MERV 8","20X24X2",8,"PLM8-20242",10389,"172-112-782","116300021\n116300-007"]
[44,"018","PLEATED FILTERS","DZ4020244","018 - 20X24X4 PLEATED AIR  FILTER 30-40% MERV 8","20X24X4",8,"PLM8-20244",10398,null,"116307-014\n116307-007","provided from manufacture in box of 6"]
[45,"018","PLEATED FILTERS","DZ4020251","018 - 20X25X1 PLEATED AIR  FILTER 30-40% MERV 8","20X25X1",8,"PLM8-20251",10376,"173-800-011","119303-003"]
[46,"018","PLEATED FILTERS","DZ4020252","018 - 20X25X2 PLEATED AIR  FILTER 30-40% MERV 8","20X25X2",8,"PLM8-20252","10390","172-112-800","116300-003"]
[47,"018","PLEATED FILTERS","DZ4020254","018 - 20X25X4 PLEATED AIR  FILTER 30-40% MERV 8","20X25X4",8,"PLM8-20254",10399,null,"116307-006","provided from manufacture in box of 6"]
[48,"018","PLEATED FILTERS","DZ4020255","018 - 20X25X5 PLEATED FILTER PLEATED FILTER","20x25x5",8,null,1015871]
[49,"018","PLEATED FILTERS","DZ4020301","018 - 20X30X1 PLEATED AIR  FILTER 30-40% MERV 8","20X30X1",8,"PLM8-20301",null,"173-716-011","403243-005","  "]
[50,"018","PLEATED FILTERS","DZ4020302","018 - 20X30X2 PLEATED AIR  FILTER 30-40% MERV 8","20X30X2",8,"PLM8-20302",null,"172-112-716","404811-002"]
[51,"018","PLEATED FILTERS","DZ4024241","018 - 24X24X1 PLEATED AIR  FILTER 30-40% MERV 8","24X24X1",8,"PLM8-24241",10377,"173-863-011","119303-005"]
[52,"018","PLEATED FILTERS","DZ4024242","018 - 24X24X2 PLEATED AIR  FILTER 30-40% MERV 8","24X24X2",8,"PLM8-24242",10391,"172-112-863",116300005]
[53,"018","PLEATED FILTERS","DZ4024244","018 - 24X24X4 PLEATED AIR  FILTER 30-40% MERV 8","24X24X4",8,"PLM8-24244",10400,null,"116307-001","provided from manufacture in box of 6"]
[54,"018","PLEATED FILTERS","DZ4025251","018 - 25X25X1 PLEATED AIR  FILTER 30-40% MERV 8","25X25X1",8,"PLM8-25251",10378,"173-870-011","119303-013"]
[55,"018","PLEATED FILTERS","DZ4025252","018 - 25X25X2 PLEATED AIR  FILTER 30-40% MERV 8","25X25X2",8,"PLM8-25252","10392","172-112-870","116300-013"]
[56,"018","PLEATED FILTERS","DZ4016255","018 - 16X25X5 PLEATED FILTER #1011116 (HONEYWELL EAC)","16x25x5",8,null,1011116]
[57,"018","PLEATED FILTERS","PLM13HC18242","018 - 18x24x2 MERV13 PLEATED AIR FILTER","18x24x2",13,"PLM13HC18242",21522,"90013.021824",407051008]
[58,"018","PLEATED FILTERS","PLM13HC24242","018 - 24x24x2 MERV13 PLEATED AIR FILTER","24x24x2",13,"PLM13HC24242",21527,"90013.022424",407051005]
[59,"018","PLEATED FILTERS","PHM13HC16202","018 - 16x20x2 MERV13 PLEATED AIR FILTER","16x20x2",13,"PLM13HC16202",21519,"90013.021620",407051001]
[60,"018","PLEATED FILTERS","PLM13HC16242","018 - 16\"X24\"X2\"MERV.13PLTD FLT 12/BOX","16x24x2",13,"PLM13HC16242",21520,"90013.021624",407051012]
[61,"018","PLEATED FILTERS","PLM13HC16251","018 - 16\"x25\"x1\"MERV.13PLTD FLT 12/BOX","16x25x1",13,"PLM13HC16251",21582,"90013.011625",407050004]
[62,"018","PLEATED FILTERS","PLM13HC16252","018 - 16x25x2 MERV13 PLEATED AIR FILTER","16x25x2",13,"PLM13HC18202",21521,"90013.021625","407051020\n407051004"]
[63,"018","PLEATED FILTERS","PLM13HC18202","018 - 18\"x20\"x2\"MERV.13PLTD FLT","18x20x2",13,"PLM13HC18202",null,"90013.021820",407051018]
[64,"018","PLEATED FILTERS","PLM13HC20202","018 - 20x20x2 MERV13 PLEATED AIR FILTER","20x20x2",13,"PLM13HC20251",21524,"90013.022020",407051002]
[65,"018","PLEATED FILTERS","PLM13HC20241","018 - 20\"x24\"x1\"MERV.13PLTD FLT 12/BOX","20x24x1",13,"PLM13HC20241",21589,"90013.012024",407050007]
[66,"018","PLEATED FILTERS","PLM13HC20242","018 - 20x24x2 MERV13 PLEATED AIR FILTER","20x24x2",13,"PLM13HC20242",21525,"90013.022024","407051021\n407051007"]
[67,"018","PLEATED FILTERS","PLM13HC20251","20\"X25\"X1\" MERV 13PLTD FLT 12/BOX","20x25x1",13,"PLM13HC20251",21590,"90013.012025",407050003]
[68,"018","PLEATED FILTERS","PLM13HC20252","018 - 20x25x2 MERV13 PLEATED AIR FILTER","20x25x2",13,"PLM13HC20252",21526,"90013.022025","407051022\n407051003"]

{"sheet":"018 sources","index":1,"n_rows":6,"n_cols":4,"rows_kept":6,"cut":false,"hidden":false,"merged":[]}
["Manufacturer","Source 1 of SKU search","Source 2 of SKU search","Source 3 of SKU search"]
["Taff-guard"]
["Dafco","https://d3nq8rpsskbdh6.cloudfront.net/userfiles/documents/se/ri/es/series400_brochure.pdf","file:///C:/Users/IrynaNazarenko/Downloads/Tab%201%20F%20-%20Residential%20Replacements.pdf","https://indd.adobe.com/view/0d8a4126-4f0d-4773-ab22-968eb72769e4"]
["AAF","AAF price list "]
["Camfil","https://www.camfil.com/dam/files/673/1299560/Product-Sheet-Aeropleat-III.pdf"]
["cross-ref chart","https://airstarfilters.com/files/FilterProductCrossReference.pdf"]

{"sheet":"Sheet1","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}