{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["053 CAPACITOR cross ref","053 RELAY cross ref","053 TRANS cross ref","053 sources"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":3,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"053 CAPACITOR cross ref","index":0,"n_rows":75,"n_cols":22,"rows_kept":75,"cut":false,"hidden":false,"merged":[]}
[]
["No.","Category number","Category name","NSC SKU","NSC Description","Type","Description for online platforms","Shape","Capacitance (MFD rating)","Voltage","MARS\nSKU","JARD\nSKU","ROTOM\nSKU","DiversiTech (ALLTEMP)\nSKU 1","DiversiTech (ALLTEMP)\nSKU 2","DAYTON\nSKU 1 ","DAYTON\nSKU 2","SUPCO","Packard\nSKU1","Packard\nSKU2","NOTES","Brand on hand"]
[1,"053","053 - CAPS/RELAYS&TRANSFORMERS","11013","053 - START CAP.145-175MFD@110 125V","Start Capacitor","Motor Start Capacitor 145-175 MFD 110 125 V","Round","145-175MFD","110/125V","11013","11913","35-145A125","145-175",null,"2MDR3",null,"CS145-175X110","PMJ145",null,"Jard, Rotom and Packard SKU for 145-174 MFD","Mars"]
[2,"053","053 - CAPS/RELAYS&TRANSFORMERS","11018","053 - START CAP.233-292MFD@110 125V","Start Capacitor","Motor Start Capacitor 233-292 MFD 110 125 V","Round","233-292MFD","110/125V","11018",11918,"35-233A125","233-292",null,"2MDR8","2MDT1","CS233-292X110","PMJ233",null,"Jard SKU for 233-291 MFD\nDayton SKU for 233-280 MFD & 243-292 MFD\nSupco SKU for 3.38 (in) height\nPackard SKU for 233-280 MFD","Mars"]
[3,"053","053 - CAPS/RELAYS&TRANSFORMERS","11023","053 - START CAP.378-440MFD@110 125V","Start Capacitor","Motor Start Capacitor 378-440 MFD 110 125 V","Round","378-440MFD","110/125V",11023,11923,"35-378D125","378-440",null,"6FLK8","2MDT8","CS378-440X110","PMJ378",null,"Jard SKU for 378-438 MFD\nRotom, Supco and Dayton2 SKU for 1.81 (in) diameter\nDayton SKU for 378-455 MFD","Mars"]
[4,"053","053 - CAPS/RELAYS&TRANSFORMERS","11025","053 - START CAP.460-552MFD@110 125V","Start Capacitor","Motor Start Capacitor 460-552 MFD 110 125 V","Round","460-552MFD","110/125V",11025,11925,"35-460D125","460-552",null,"2MDU2","2MDU3","CS460-552X110","PMJ460",null,"Jard SKU for 2.75 (in) height \nRotom, Supco SKU for 1.81 (in) diameter","Mars"]
[5,"053","053 - CAPS/RELAYS&TRANSFORMERS","11026","053 - START CAP.540-648MFD@110 125V","Start Capacitor","Motor Start Capacitor 540-648 MFD 110 125 V","Round","540-648MFD","110/125V",11026,11926,"35-540D125","540-648",null,"6FLL1",null,"CS540-648X110","PMJ540",null,"Jard SKU for 1.44 (in) diameter \nDiversiTech SKU is assumed","Mars"]
[6,"053","053 - CAPS/RELAYS&TRANSFORMERS","11040","053 - START CAP.30-36MFD@220 250V","Start Capacitor","Motor Start Capacitor 30-36 MFD 220 250 V","Round","30-36MFD","220/250V",11040,11940,"35-30A250","30-36220",null,"6FLW5",null,"CS30-36X220","PTMJ30",null,"DiversiTech SKU is assumed","Mars"]
[7,"053","053 - CAPS/RELAYS&TRANSFORMERS","11041","053 - START CAP.43-56MFD@220 250V","Start Capacitor","Motor Start Capacitor 43-56 MFD 220 250 V","Round","43-56MFD","220/250V",11042,11942,"35-43B250","43-53220",null,"2MER2","2MER3","CS43-56X220","PTMJ43A","PTMJ47","Mars, Jard, Dayton1, Supco SKU for 2.75 (in) height \nDiversiTech1, Packard1 SKU for 43-53 MFD"]
[8,"053","053 - CAPS/RELAYS&TRANSFORMERS","11045","053 - START CAP.88-108MFD@220 250V","Start Capacitor","Motor Start Capacitor 88-108 MFD 220 250 V","Round","88-108MFD","220/250V",11045,11945,"35-88D250","88-108220",null,"2MER8",null,"CS88-108X220","PTMJ88",null,"Jard SKU dimensions 2.75x1.347 (in) \n","Mars"]
[9,"053","053 - CAPS/RELAYS&TRANSFORMERS","11046","053 - START CAP.108-130MFD@220V","Start Capacitor","Motor Start Capacitor 108-130 MFD 220 250 V","Round","108-130MFD","220/250V",11046,11946,"35-108D250","108-130220",null,"2MER9",null,"CS108-130X220","PTMJ108",null,null,"Mars"]
[10,"053","053 - CAPS/RELAYS&TRANSFORMERS","11060","053 - START CAP.56-72MFD@330 370V","Start Capacitor","Motor Start Capacitor 56-72 MFD 330 V","Round","56-72MFD","330V",11060,11995,"35-56D330","56-72330",null,"2MEL2","2MEL3","CS56-72X330","PRMJ64","PRMJ56","DiversiTech  SKU is assumed\nDayton and Packard SKU for 53-64 MFD & 64-77 MFD","Mars"]
[11,"053","053 - CAPS/RELAYS&TRANSFORMERS","11062","053 - START CAP.88-108MFD@330 ALLTEMP # 35-88F330","Start Capacitor","Motor Start Capacitor 88-108 MFD 330 V","Round","88-108MFD","330V",11062,11962,"35-88F330","88-108330",null,"2MEL6",null,"CS88-108X330","PRMJ88",null,"Rotom, Dayton, Supco, Packard1 SKU for 2.06 (in) diameter","Mars"]
[12,"053","053 - CAPS/RELAYS&TRANSFORMERS","11063","053 - START CAP.108-130MFD@330 370V","Start Capacitor","Motor Start Capacitor 108-130 MFD 330 V","Round","108-130MFD","330V",11063,11963,"35-108G330","108-130330",null,"2MEL7",null,"CS108-130X330","PRMJ108",null,"Jard SKU for 1.81 (in) diameter","Mars"]
[13,"053","053 - CAPS/RELAYS&TRANSFORMERS","11066","053 - START CAP,145-175MFD@330 370V","Start Capacitor","Motor Start Capacitor 145-175 MFD 330 V","Round","145-175MFD","330V",11066,11966,"35-145H330","145-175330",null,"2MEP2",null,"CS145-175X330","PRMJ145",null,"Jard, Rotom, Packard SKU for 145-174 MFD \nJard SKU  for 1.81 (in) diameter\nRotom SKU for 2.56 (in) diameter","Mars"]
[14,"053","053 - CAPS/RELAYS&TRANSFORMERS","11067","053 - START CAP.161-193MFD@330 370V","Start Capacitor","Motor Start Capacitor 161-193 MFD 330 V","Round","161-193MFD","330V",11067,11967,"35-161H330","161-193330",null,"2MEP3",null,"CS161-193X330","PRMJ161",null,"Jard SKU  for 1.81 (in) diameter\nRotom and Supco SKU for 2.56 (in) diameter","Mars"]
[15,"053","053 - CAPS/RELAYS&TRANSFORMERS","11068","053 - START CAP.189-227MFD@330 370V","Start Capacitor","Motor Start Capacitor 189-227 MFD 330 V","Round","189-227MFD","330V",11068,11968,"35-189H330","189-227330",null,"6FLU0",null,"CS189-227X330","PRMJ189",null,"Jard SKU  for 1.81 (in) diameter\nRotom and Supco SKU for 2.56 (in) diameter","Mars"]
[16,"053","053 - CAPS/RELAYS&TRANSFORMERS","11909","053 - START CAP.72-88MFD@110 125V","Start Capacitor","Motor Start Capacitor 72-88 MFD 110 125 V","Round","72-88MFD","110/125V",11008,11908,"35-72A125","72-88",null,"6FLL6",null,"CS72-88X110","PMJ72",null,"DiversiTech SKU is assumed","R-Line, Rotom"]
[17,"053","053 - CAPS/RELAYS&TRANSFORMERS","11910","053 - START CAP.108-130MFD@110 125V","Start Capacitor","Motor Start Capacitor 108-130 MFD 110 125 V","Round","108-130MFD","110/125V",11010,11910,"35-108A125","108-130",null,"2MDR1",null,"CS108-130X110","PMJ108",null,null,"Jard"]
[18,"053","053 - CAPS/RELAYS&TRANSFORMERS","11912","053 - START CAP.124-156MFD@110 125V","Start Capacitor","Motor Start Capacitor 124-156 MFD 110 125 V","Round","124-156MFD","110/125V",11112,11912,"35-124A125","124-156",null,"6FLK1","2MDR2","CS124-156X110","PMJ124",null,"Dayton SKU for 124-149 MFD & 130-156 MFD\nPackard SKU for 124-149 MFD","Jard, Rotom"]
[19,"053","053 - CAPS/RELAYS&TRANSFORMERS","11914","053 - START CAP.161-193MFD@110 125V","Start Capacitor","Motor Start Capacitor 161-193 MFD 110 125 V","Round","161-193MFD","110/125V",11014,"11914","35-161A125","161-193",null,"2MDR4",null,"CS161-193X110","PMJ161",null,null,"Jard"]
[20,"053","053 - CAPS/RELAYS&TRANSFORMERS","11915","053 - START CAP.189-227MFD@110 125V","Start Capacitor","Motor Start Capacitor 189-227 MFD 110 125 V","Round","189-227MFD","110/125V",11015,11915,"35-189A125","189-227",null,"2MDR5",null,"CS189-227X110","PMJ189",null,null,"Jard"]
[21,"053","053 - CAPS/RELAYS&TRANSFORMERS","11944","053 - START CAP.72-88MFD@220 250V","Start Capacitor","Motor Start Capacitor 72-88 MFD 220 250 V","Round","72-88MFD","220/250V",11044,11944,"35-72D250","72-88220",null,"6FLW8",null,"CS72-88X220","PTMJ72",null,"Mars, DiversiTech, Dayton and Packard SKU for 3.38x1.81 (in) dimensions","Jard"]
[22,"053","053 - CAPS/RELAYS&TRANSFORMERS","11949","053 - START CAP.145-175MFD@220 250V","Start Capacitor","Motor Start Capacitor 145-175 MFD 220 250 V","Round","145-175MFD","220/250V",11049,11949,"35-145F250","145-175220",null,"2MET4",null,"CS145-175X220","PTMJ145",null,"Rotom SKU for 2.06 (in) diameter \nRotom, Dayton and Packard 145-174 MFD\nSupco SKU for 4.38 (in) height","Jard"]
[23,"053","053 - CAPS/RELAYS&TRANSFORMERS","11950","053 - START CAP.161-193MFD@220 250V","Start Capacitor","Motor Start Capacitor 161-193 MFD 220 250 V","Round","161-193MFD","220/250V",11050,11950,"35-161E250","161-193220",null,"2MET6",null,"CS161-193X220","PTMJ161A",null,"Mars and Dayton SKU for 2.06 (in) diameter\nRotom, DiversiTech and Supco SKU for 4.38 (in) height ","Jard"]
[24,"053","053 - CAPS/RELAYS&TRANSFORMERS","11951","053 - START CAP.189-227MFD@220 250V","Start Capacitor","Motor Start Capacitor 189-227 MFD 220 250 V","Round","189-227MFD","220/250V",11051,11951,"35-189G250","189-227220",null,"2MET7",null,"CS189-227X220"," PTMJ189",null,"Mars, DiversiTech, Dayton and Packard SKU for 2.06 (in) diameter\nRotom and Supco SKU for 2.06x4.38 (in) dimensions","Jard"]
[25,"053","053 - CAPS/RELAYS&TRANSFORMERS","11952","053 - START CAP.216-259MFD@220 250V","Start Capacitor","Motor Start Capacitor 216-259 MFD 220 250 V","Round","216-259MFD","220/250V",11052,11952,"35-216G250","216-259220",null,"6FLV9",null,"CS216-259X220","PTMJ216",null,"Mars, DiversiTech, Dayton, Packard SKU for 2.06 (in) diameter\nRotom and Supco SKU for 2.06x4.38 (in) dimensions","Jard"]
[26,"053","053 - CAPS/RELAYS&TRANSFORMERS","11954","053 - START CAP.270-324MFD@220 250V","Start Capacitor","Motor Start Capacitor 270-324 MFD 220 250 V","Round","270-324MFD","220/250V",11054,11954,"35-270G250","270-324220",null,"6FLW3",null,"CS270-324X220","PTMJ270",null,"Rotom SKU, DiversiTech, Supco SKU for 4.38 (in) height","Jard"]
[27,"053","053 - CAPS/RELAYS&TRANSFORMERS","11965","053 - START CAP.124-156MFD@330 370V","Start Capacitor","Motor Start Capacitor 124-156 MFD 330 V","Round","124-156MFD","330V",11165,11965,"35-124G330","124-156330",null,"2MEL9","2MEP1","CS124-156X330","PRMJ124","PTMJ130A","Mars, Rotom, DiversiTech, Dayton1 and Dayton2, Supco, Packard SKU for 2.06 (in) diameter\nDayton SKU for 124-149 MFD & 130-158 MFD\nPackard SKU for 124-149 MFD","Jard"]
[28,"053","053 - CAPS/RELAYS&TRANSFORMERS","11969","053 - START CAP.216-259MFD@330 370V","Start Capacitor","Motor Start Capacitor 216-259 MFD 330 V","Round","216-259MFD","330V",11069,11969,"35-216H330","216-259330",null,"6FLU2",null,"CS216-259X330","PRMJ216A",null,"Rotom, Supco SKU for 2.56 (in) diameter","Jard"]
[29,"054","053 - CAPS/RELAYS&TRANSFORMERS",11970,"053 - START CAP.270-324MFD@330 370V","Start Capacitor",null,null,null,null,11070,11970,null,"270-324330",null,"2MEP6",null,"CS270-324X330","PRMJ270"]
[30,"053","053 - CAPS/RELAYS&TRANSFORMERS","12732","053 - RUN CAP 10MFD@370/440V (36-10-370440)","Run Capacitors","Run Capacitor 10MFD 440/370V, Round","Round","10MFD","440/370V",12232,12732,"36-10R3744","45100R",null,"2MEC3","2MEG6","CR10X440R","PRCF10",null,"Mars SKU for 3.125 (in) height\nRotom SKU for 1.65x2.78 (in) dimensions","Jard"]
[31,"053","053 - CAPS/RELAYS&TRANSFORMERS","12733","053 - RUN CAP 12.5MFD@370/440V","Run Capacitors","Run Capacitor 12.5MFD  440/370V, Round","Round","12.5MFD","440/370V",12233,12733,"36-12R3744","45125R","37125R","2MEC4","2MEG7","CR12.5X440R",null,null,"Mars SKU for 3.125 (in) height\nRotom SKU for 1.65x2.78 (in) dimensions\nDiversiTech SKU for 2.17x1.8 (in) & 2.75x2.25 (in) dimensions","Jard"]
[32,"053","053 - CAPS/RELAYS&TRANSFORMERS","12734","053 - RUN CAP 15MFD@370/440V (36-15-370440)","Run Capacitors","Run Capacitor 15MFD 440/370V, Round","Round","15MFD","440/370V",12234,12734,"36-15R3744","45150R","37150R","2MEC5","2MEG8","CR15X440R",null,null,"Mars SKU for 3.125 (in) height\nRotom SKU for 1.65x3.15 (in) dimensions\nDiversiTech SKU for 2.17x1.8 (in) & 3.75x2 (in) dimensions","Jard"]
[33,"053","053 - CAPS/RELAYS&TRANSFORMERS","12736","053 - RUN CAP 17.5MFD@440V","Run Capacitors","Run Capacitor 17.5MFD 440/370V, Oval","Oval","17.5MFD","440/370V",12012,12912,"36-17.5K370\n36-17.5K440\n36-17-370440","37175H",null,"2MDW1","2MDZ1","CR17.5X370",null,null,"Rotom voltage doesn't match, we have 370V & 440V items on hand with the same SKU\nMars SKU for 4.25x2.056x1.212 (in) dimensions\nJard SKU for 3.125x2.056x1.212 (in) dimensions\nDiversiTech SKU for 2.17x1.38x3.35 (in) dimensions","R-Line, Rotom"]
[34,"053","053 - CAPS/RELAYS&TRANSFORMERS","12737","053 - RUN CAP. 20MFD@440V (36-20-370440)","Run Capacitors","Run Capacitor 20MFD 440/370V, Round","Round","20MFD","440/370V",12237,12737,"36-20R3744","45200R","37200R","2MEC7","2MEH1","CR20X440R",null,null,"Mars SKU for 3.5 (in) height\nDiversiTech SKU for 3.75x2 (in) & 2.56x1.8 (in)  dimensions","Jard"]
[35,"053","053 - CAPS/RELAYS&TRANSFORMERS","12740","053 - RUN CAP. 25MFD@440V","Run Capacitors","Run Capacitor 25MFD 440/370V, Round","Round","25MFD","440/370V",12240,12740,"36-25R3744","45250R","37250R","2MEC8","2MEH2","CR25X440R",null,null,"Mars SKU for 4.25 (in) height\nDiversiTech SKU for 5x2.25 (in) & 2.95x1.8 (in)  dimensions","Jard"]
[36,"053","053 - CAPS/RELAYS&TRANSFORMERS","12741","053 - RUN CAP. 30MFD@440V","Run Capacitors","Run Capacitor 30MFD 440/370V, Round","Round","30MFD","440/370V",12241,12741,"36-30R3744","45300R","37300R","2MEC9","2MEH3","CR30X440R",null,null,"Mars SKU for 4.25x2 (in) dimensions\nRotom SKU for 1.78x3.54x (in) dimensions","Jard"]
[37,"053","053 - CAPS/RELAYS&TRANSFORMERS","12743","053 - RUN CAP. 35MFD@440V 45350 CAPACITOR","Run Capacitors","Run Capacitor 35MFD 440/370V, Round ","Round","35MFD","440/370V",12243,12743,"36-35R3744","45350R","37350R","2MEE1","2MEH4","CR35X440R",null,null,"Mars SKU for 4.25 (in) height\nJard SKU for 4.25x1.75 (in) dimensions"]
[38,"053","053 - CAPS/RELAYS&TRANSFORMERS","12745","053 - RUN CAP. 40MFD@440V 45400 CAPACITOR","Run Capacitors","Run Capacitor 40MFD 440/370V, Round","Round","40MFD","440/370V",12245,12745,"36-40R3744","45400R","37400R","2MEE2","2MEH5","CR40X440R",null,null,"Mars SKU for 4.25 (in) height\nJard SKU for 4.5 (in) height","Jard"]
[39,"053","053 - CAPS/RELAYS&TRANSFORMERS","12748","053 - RUN CAP. 45MFD@440V (36-45-370440)","Run Capacitors","Run Capacitor 45MFD 440/370V, Round","Round","45MFD","440/370V",12248,12748,"36-45R3744","45450R","37450R","2MEE3","2MEH6","CR45X440R",null,null,null,"Jard"]
[40,"053","053 - CAPS/RELAYS&TRANSFORMERS","12751","053 - RUN CAP. 50MFD@440V","Run Capacitors","Run Capacitor 50MFD 440/370V, Round","Round","50MFD","440/370V",12251,12751,"36-50R3744","45500R",null,"2MEE4","2MEH7","CR50X440R",null,null,null,"Jard"]
[41,"053","053 - CAPS/RELAYS&TRANSFORMERS","12752","053 - RUN CAP. 55MFD@440V","Run Capacitors","Run Capacitor  55MFD 440/370V, Round","Round","55MFD","440/370V",12252,12752,"36-55R3744","45550R","37550R","4UHC3","2MEH8","CR55X440R",null,null,null,"Jard"]
[42,"053","053 - CAPS/RELAYS&TRANSFORMERS","12754","053 - RUN CAP. 60MFD@440V","Run Capacitors","Run Capacitor 60MFD 440/370V, Round","Round","60MFD","440/370V",12254,12754,"36-60R3744","45600R","37600R","2MEE5","2MEH9","CR60X440R",null,null,null,"Jard"]
[43,"053","053 - CAPS/RELAYS&TRANSFORMERS","12765","053 - DUAL RUN CAP.10/5MFD@440v","Dual Run Capacitors","Dual Run Capacitor 10 + 5 MFD 440/370 V, Oval","Oval","10/5MFD","440/370","12165 ",12765,"36-10-5K440",null,null,null,null,null,null,null,null,"R-Line"]
[44,"053","053 - CAPS/RELAYS&TRANSFORMERS",12771,"053 - DUAL RUN CAP.15/5MFD@440","Dual Run Capacitors","Dual Run Capacitor 15 + 5 MFD 440/370 V, Oval","Oval","15/5MFD","440/370V","12271 ","12771 ","36-15-5-3744",null,null,"2MDX3","6FLN9","CD15+5X440",null,null,"Dayton SKU for different voltage ","Jard"]
[45,"053","053 - CAPS/RELAYS&TRANSFORMERS","12788","053 - DUAL RUN CAP.45/5MFD@440 (36-455R3744) ROUND","Dual Run Capacitors","Dual Run Capacitor 45 + 5 MFD 440/370 V, Round","Round","45/5MFD","440/370V",12288,12788,"36-455R3744","4JR0545","3GR0545","2MEF4","2MEJ9","CD45+5X440R",null,null,"DiversiTech and Dayton SKU for different voltage","Jard"]
[46,"053","053 - CAPS/RELAYS&TRANSFORMERS",12792,"053 - DUAL RUN 55/5MFD @ 440","Dual Run Capacitors","Dual Run Capacitor 55 + 5 MFD 440/370 V , Round","Round","55/5MFD","440/370V",12292,12792,"36-555R3744","4JR0555","3GR0555","2MEF8","2MEK4","CD55+5X440R","PRCD555","POCFD555","DiversiTech and Dayton SKU for different voltage","Jard"]
[47,"053","053 - CAPS/RELAYS&TRANSFORMERS","12805","053 - RUN CAP 5MFD@370/440V (36-5-370440)","Run Capacitors","Run Capacitor 40 MFD 440/370V, Round","Round","5MFD","440/370V",12105,12805,"36-5R3744","45050R","37050R","2MEC1","2MEG4","CR5X440R",null,null,null,"Jard"]
[48,"053","053 - CAPS/RELAYS&TRANSFORMERS","12807","053 - RUN CAP 7.5MFD@370/440V (36-7-370440)","Run Capacitors","Run Capacitor 4MFD 440/370V, Round","Round","7.5MFD","440/370V",12107,12807,"36-7R3744","45075R","37075R","2MEC2","2MEG5","CR7.5X440R",null,null,null,"Jard"]
[49,"053","053 - CAPS/RELAYS&TRANSFORMERS",12884,"053 - DUAL RUN CAP.25/5MFD@440","Dual Run Capacitors","Dual Run Capacitor 25 + 5 MFD 440/370 V, Oval","Oval","25/5MFD","440/370V",12184,12884,"36-25-5-3744","4JJ0525","3GJ0525","2MDX6","2MEA2","CD25+5X440",null,null,"DiversiTech and Dayton SKU for different voltage","Jard"]
[50,"053","053 - CAPS/RELAYS&TRANSFORMERS",12885,"053 - DUAL RUN CAP.35/5MFD@440 4JJ0530 CAPACITOR","Dual Run Capacitors","Dual Run Capacitor 35 + 5 MFD 440/370 V, Oval","Oval","35/5MFD","440/370V",12185,12885,"36-35-5-3744","4JJ0535","3GJ0535","2MDX8","2MEA4","CD35+5X440",null,null,"DiversiTech and Dayton SKU for different voltage","Jard"]
[51,"053","053 - CAPS/RELAYS&TRANSFORMERS","12887","053 - DUAL RUN CAP.30/5MFD@440 4JJ0530 CAPACITOR","Dual Run Capacitors","Dual Run Capacitor 30 + 5 MFD 440/370 V, Oval","Oval","30/5MFD","440/370V",12187,12887,"36-30-5-3744","4JJ0530","3GJ0530","2MDX7","2MEA3","CD30+5X440",null,null,"DiversiTech and Dayton SKU for different voltage","Jard"]
[52,"053","053 - CAPS/RELAYS&TRANSFORMERS",12983,"053 - DUAL RUN CAP 20/15MFD@44","Dual Run Capacitors","Dual Run Capacitor 20 + 5 MFD 440/370 V, Oval","Oval","20/15MFD","440/370V",12083,12983,"36-20-153744",null,null,null,null,null,null,null,null,"Jard"]
[53,"053","053 - CAPS/RELAYS&TRANSFORMERS",12986,"053 - DUAL RUN CAP.40/5MFD@440 (36-40-5-3744)","Dual Run Capacitors","Dual Run Capacitor 40 + 5 MFD 440/370 V, Oval","Oval","40/5MFD","440/370V",12086,12986,"36-40-5-3744","4JJ0540","3GJ0540","2MDY1","2MEA5","CD40+5X440",null,null,"DiversiTech and Dayton SKU for different voltage","Jard"]
[54,"053","053 - CAPS/RELAYS&TRANSFORMERS",12287,"053 - DUAL RUN CAP.40/7.5MFD ROUND 40/7.5MFD@370/440V","Dual Run Capacitors","Dual Run Capacitor 40 + 7.5 MFD 440/370 V, Round","Round","40/7.5MFD","440/370V",12287,12787,"36-407R3744","4JR7540","3GR7540","2MEF3","2MEJ8","CD40+7.5X440R","POCFD4075",null,"DiversiTech and Dayton SKU for different voltage","Mars"]
[55,"053","053 - CAPS/RELAYS&TRANSFORMERS",12500,"053 - 2.5-15MFD.UNIV.RUN CAP PERMANENT REPLACEMENT","Universal Run Capacitor","Universal Motor Run Capacitor 2.5 - 15 MFD 440/370V, Oval","Oval","2.5-15MFD","440/370V",12500,null,null,null,null,null,null,null,null,null,null,"Mars"]
[56,"053","053 - CAPS/RELAYS&TRANSFORMERS","11010","053 - START CAP.88-108MFD@110 125V","Start Capacitor","Motor Start Capacitor 88-108 MFD 110 125 V","Round","88-108MFD","110/125V",11009,11909,"35-88A125","88-108",null,"2MDN9",null,"CS88-108X110","PMJ88",null,"on hand only in Timmins"]
[57,"053","053 - CAPS/RELAYS&TRANSFORMERS","11017","053 - START CAP.216-259MFD@110 125V","Start Capacitor","Motor Start Capacitor 216-259 MFD 110 125 V","Round","216-259MFD","110/125V",11017,11917,"35-216A125","216-259",null,"2MDR6",null,"CS216-259X110","PMJ216",null,"on hand only in Timmins\nSupco SKU for 3.38 (in) height"]
[58,"053","053 - CAPS/RELAYS&TRANSFORMERS","11953","053 - START CAP.233-292MFD@220 250V","Start Capacitor","Motor Start Capacitor 233-292 MFD 220 250 V","Round","233-292MFD","220/250V",11053,11953,"35-233G250","233-292220",null,"6FLW0","6FLW1","CS233-292X220","PTMJ233","PTMJ243","on hand only in Timmins\nMars, DiversiTech, Dayton1, Dayton2, Supco, Packard1 , Packard2 SKU for 2.06 (in) diameter\nRotom SKU for 2.06x4.38 (in) dimensions\nDayton, Packard SKU for 233-280 MFD & 243-292 MFD"]
[59,"053","053 - CAPS/RELAYS&TRANSFORMERS","12100","053 - CAPACITOR RUN UNIVERSAL 2.5 MFD-12.5 MFD 370/440","Universal Run Capacitor","Universal Motor Run Capacitor 2.5 - 15 MFD 440/370V, Round","Round","2.5-15MFD","440/370V",12100,null,null,null,null,"2ELT4",null,null,null,null,"on hand only in Timmins"]
[60,"053","053 - CAPS/RELAYS&TRANSFORMERS","36250","053 - CAPACITOR RUN 25MFD 370V (36-25-370440)","Run Capacitors","Run Capacitor 25MFD 440/370V, Oval","Oval","25MFD","440/370V",12040,12940,"36-25-370440","45250H","37250H","2MDW3","2MDZ3","CR25X440",null,null,"on hand only in Timmins"]
[61,"053","053 - CAPS/RELAYS&TRANSFORMERS","36255R3744","053 - RUN CAP DUAL ROUND 25/5 MFD X 370/440V","Dual Run Capacitors","Dual Run Capacitor 25 + 5 MFD 440/370 V, Round","Round","25/5MFD","440/370V",12278,"12778 ","36-255R3744","4JR0525","3GR0525","2MEE7","2MEJ2","CD25+5X440R","PRCFD255",null,"on hand only in Timmins"]
[62,"053","053 - CAPS/RELAYS&TRANSFORMERS","36305R3744","053 - CAPACITOR RUN DUAL ROUND 30/5 MFD X 370/440V","Dual Run Capacitors","Dual Run Capacitor 30 + 5 MFD 440/370 V, Round","Round","30/5MFD","440/370V",12281,12781,"36-305R3744","4JR0530","3GR0530","2MEE8","2MEJ3","CD30+5X440R",null,null,"on hand only in Timmins"]
[63,"053","053 - CAPS/RELAYS&TRANSFORMERS","3635370440","053 - RUN CAP 35 MFD @370/440V","Run Capacitors","Run Capacitor 35 MFD 440/370V, Oval","Oval","35MFD","440/370V","12043 ",12943,"36-35-370440","45350H","37350H","2MDW5","2MDZ5","CR35X440",null,null,"on hand only in Timmins"]
[64,"053","053 - CAPS/RELAYS&TRANSFORMERS","36355R3744","053 - RUN CAP DUAL ROUND 35/5 MFD X 370/440V","Dual Run Capacitors","Dual Run Capacitor 35 + 5 MFD 440/370 V, Round","Round","35/5MFD","440/370V","12283 ",12783,"36-355R3744","4JR0535","3GR0535","2MEE9","2MEJ5","CD35+5X440R",null,null,"on hand only in Timmins"]
[65,"053","053 - CAPS/RELAYS&TRANSFORMERS","3640370440","053 - RUN CAP 40 MFD @370/440V","Run Capacitors","Run Capacitor 40 MFD 440/370V, Oval","Oval","40MFD","440/370V",12045,12945,"36-40-370440","45400H","37400H","2MDW6","2MDZ6","CR40X440",null,null,"on hand only in Timmins"]
[66,"053","053 - CAPS/RELAYS&TRANSFORMERS","36405R3744","053 - CAPACITOR RUN DUAL ROUND 40/5 MFD X 370/440V","Dual Run Capacitors","Dual Run Capacitor 40 + 5 MFD 440/370 V, Round","Round","40/5MFD","440/370V",12286,"12786 ","36-405R3744","4JR0540","3GR0540","2MEF2","2MEJ7","CD40+5X440R",null,null,"on hand only in Timmins"]
[67,"053","053 - CAPS/RELAYS&TRANSFORMERS","364370440","053 - RUN CAP 4MFD@370/440V RUN CAPACITOR","Run Capacitors","Run Capacitor  4MFD 440/370V, Oval","Oval","4MFD","440/370V",12028,"12928 ","36-4-370440","45040H","37040H","2MDV3","2MDY4","CR4X440",null,null,"on hand only in Timmins"]
[68,"053","053 - CAPS/RELAYS&TRANSFORMERS","3645370440","053 - CAPACITOR RUN OVAL 45 MFD 370/440V","Run Capacitors","Run Capacitor 45 MFD 440/370V, Oval","Oval","45MFD","440/370V","12048 ",12948,"36-45-370440","45450H","37450H","2MDW5","2MDZ5","CR45X440",null,null,"on hand only in Timmins"]
[69,"053","053 - CAPS/RELAYS&TRANSFORMERS","3650370440","053 - CAPACITOR 50 MFD 370/440 VOLT OVAL","Run Capacitors","Run Capacitor 50 MFD 440/370V, Oval","Oval","50MFD","440/370V",12049,"12949 ","36-50-370440","45500R","37500H","2MDW8","2MDZ8","CR50X440","POCF50",null,"on hand only in Timmins"]
[70,"053","053 - CAPS/RELAYS&TRANSFORMERS","3655370440","053 - CAPACITOR 55 MFD 370/440 VOLT OVAL","Run Capacitors","Run Capacitor 55 MFD 440/370V, Oval","Oval","55MFD","440/370V","12050 ","12950 ","36-55-370440","45550H","37550H","2MDW9","2MDZ9","CR55X440","POCF55",null,"on hand only in Timmins"]
[71,"053","053 - CAPS/RELAYS&TRANSFORMERS","3660370440","053 - CAPACITOR 60 MFD 370/440 VOLT OVAL","Run Capacitors","Run Capacitor 60 MFD 440/370V, Oval","Oval","60MFD","440/370V",12051,"12951 ","36-60-370440","45600H","37600H","2MDX1","2MEA1","CR60X440","POCF60",null,"on hand only in Timmins"]
[72,"053","053 - CAPS/RELAYS&TRANSFORMERS","3680R3744","053 - CAPACITOR 80 MFD 370/440 ROUND","Run Capacitors","Run Capacitor 80 MFD 440/370V, Round","Round","80 MFD","440/370V","12259 ",12759,"36-80R3744","45800R","37800R","2MEE6","2MEJ1","CR80X440R",null,null,"on hand only in Timmins"]
[73,"053","053 - CAPS/RELAYS&TRANSFORMERS","37300","053 - CAPACITOR RUN 30MFD 370V (36-30-370440)","Run Capacitors","Run Capacitor 30MFD 440/370V, Oval","Oval","30MFD","440/370V","12041 ",12941,"36-30-370440","45300H","37300H","2MDW4"," 2MDZ4","CR30X440",null,null,"on hand only in Timmins"]

{"sheet":"053 RELAY cross ref","index":1,"n_rows":11,"n_cols":22,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
["No.","Category number","Category name","NSC SKU","NSC Description","Description for online platforms","Type","Sitching Type","Contact Rating Amps\n(Resistive)","Coil Voltage","MARS\nSKU","JARD \nSKU","Rotom (ALLTEMP) \nSKU","DiversiTech\nSKU","HONEYWEL\nSKU","EMERSON (White Rogers)\nSKU","RBM\nSKU","ZETLER\nSKU","General Electric","SUPCO","Packard\nSKU","NOTES"]
[1,"053","053 - CAPS/RELAYS&TRANSFORMERS","17002","053 - LOCK-OUT RELAY 24v.ENCLOS","Magnetic Line Switching Relay 24 V, 18 A, SPDT","Relay","SPDT","18 A ","24 V",17002,null,"25-17002",null,null,"68-0259-00","90-105\n90-106\n91256-9002",null,"3ARR4 CA32 "]
[2,"053","053 - CAPS/RELAYS&TRANSFORMERS","17018","053 - SPDT,24v TOTALLY ENCLOSED RELAY","Totally Enclosed Switching Relay 24 V, 18 A, SPDT","Relay","SPDT","18 A","24 V",17018,null,null,null,"R8225A","90-123\n8A04-1",null,null,"3ARR4 FB32"]
[3,"053","053 - CAPS/RELAYS&TRANSFORMERS","2590290","053 - ENCLD.RELAY,24V,SP/NO, 125/250VAC","Standard Duty Enclosed Fan Relay, 24 V, 16 A, SPST-NO","Relay","SPST-NO","16 A","24 VAC",90290,"92290\nJFR-290","25-90290","D90-290Q",null,"90-290","90-290Q","AZ 9401-1A-24A",null,90290,"PR290Q","Mars SKU for 18 Amp  contact rating"]
[4,"053","053 - CAPS/RELAYS&TRANSFORMERS","2590293","053 - ENCLD.RELAY,24V,SP/DT, 125/250VAC","Standard Duty Enclosed Fan Relay,  24 V, 16 A, SPDT","Relay","SPDT","16 A","24 VAC",90293,"92293\nJFR-293","25-90293","D90-293Q",null,"90-293","90-293Q","AZ9401–1C–24A",null,90293,"PR293Q","Mars SKU for 18 Amp  contact rating"]
[5,"053","053 - CAPS/RELAYS&TRANSFORMERS","2590294","053 - ENCLD.RELAY,115V,SP/DT, 125/250VAC","Standard Duty Enclosed Fan Relay, 120 V, 16 A, SPDT","Relay","SPDT","16 A","120 V",90294,"92294\nJFR-294","25-90294","D90-294Q",null,"90-294","90-294Q","AZ9401–1C–120A",null,90294,"PR294Q","Mars SKU for 18 Amp  contact rating"]
[6,"053","053 - CAPS/RELAYS&TRANSFORMERS","2590295","053 - ENCLD.RELAY,240V,SP/DT, 115/250VAC","Standard Duty Enclosed Fan Relay,  240 V, 16 A, SPDT","Relay","SPDT","16 A","240 V",90295,92295,"25-90295","D90-295Q",null,"90-295","90-295Q","AZ 9401-1C-240A",null,90295,"PR295Q"]
[7,"053","053 - CAPS/RELAYS&TRANSFORMERS","2590340","053 - GEN.SWITCH.RELAY,24V,2PO","Semi-Enclosed Relay – 2 Pole HVAC Switching Relay, 24 V, DPDT","Relay","DPDT",null,"24 V",90340,"92340\nJFR-340","25-90340","D-90340","R8222D1014","90-340","90-340","ZC90340",null,90340,"PR340"]
[8,"053","053 - CAPS/RELAYS&TRANSFORMERS","2590341","053 - GEN.SWITCH.RELAY,115V,2P","Semi-Enclosed Relay – 2 Pole HVAC Switching Relay, 120 V, DPDT","Relay","DPDT",null,"120 V",90341,"92341\nJFR-341","25-90341","D-90341","R4222D1013","90-341","90-341","ZC90341",null,90341,"PR341"]
[9,"053","053 - CAPS/RELAYS&TRANSFORMERS",2590342,"053 - GEN.SWITCH.RELAY,240V,2P","Semi-Enclosed Relay – 2 Pole HVAC Switching Relay, 240 V, DPDT","Relay","DPDT",null,"240 V",90342,"92342\nJFR-342","25-90342"," D-90342","R4222D1021","90-342","90-342","ZC90342",null,90342,"PR342"]
[10,"053","053 - CAPS/RELAYS&TRANSFORMERS","ST82D1004","053 - RELAY TIME DELAY DPDT 80 SEC.","Time Delay Relay 24 VAC Contact rating 6 Amps DPDT 80 sec","Relay","DPDT",null,"24 VAC",null,null,null,null,"ST82D1004",null,null,null,null,null,null,"on hand only in Timmins"]

{"sheet":"053 TRANS cross ref","index":2,"n_rows":9,"n_cols":17,"rows_kept":9,"cut":false,"hidden":false,"merged":[]}
["No.","Category number","Category name","NSC SKU","NSC Description","Type","MARS\nSKU","JARD\nSKU","R-LINE (ALLTEMP)\nSKU","DiversiTech\nSKU","HONEYWEL\nSKU","EMERSON\n(White Rogers)\nSKU","RBM\nSKU","ZETLER\nSKU","SUPCO\nSKU","Packard\nSKU","NOTES"]
[1,"053","053 - CAPS/RELAYS&TRANSFORMERS","2540241","053 - L.V.TRANSF.40VAC/120V-24 LOW VOLTAGE TRANSFORMER","Transformer",50302,"44522 \n4011M","34-40241\n(25-40241)","T3401\nT5401","AT40A1121\nAT72D1188\nAT72D1725\nAT72D1915\nAT72D1956","T40M1\nT40S1\nS81-125\nS81-373\nS84-11","90-502\n90-556\n90-558",null,"SXT112","PF12440\nPF42440"]
[2,"053","053 - CAPS/RELAYS&TRANSFORMERS","2540242","053 - L.V.TRANSF.40VAC/240V-24 LOW VOLTAGE TRANSFORMER","Transformer",50303,null,"34-40242\n(25-40242)",null,"AT72D1055\nAT72D1063\nAT72D1063\nAT72D1069\nAT72D1096\nAT72D1196\nAT72D1202\nAT70D1733","T40M2\nT40S2\nS81-130\nS81-374\nS84G-11",null,null,"SXT113","PM32440"]
[3,"053","053 - CAPS/RELAYS&TRANSFORMERS",2540243,"053 - L.V.TRANS.40VA/120/240-2 LOW VOLT TRANSF (90T40F3)","Transformer","50304\n",44524,"34-40243\n(25-40243)","T3403\nT5403","AT40A1018\nAT72D1683\nAT72D1691\nAT140A1018\nAT87A1106","T40M3\nT40S3",null,null,"SXT106","PM42440\nPM42440TM"]
[4,"053","053 - CAPS/RELAYS&TRANSFORMERS","2575241","053 - L.V.TRANS.75VAC/120V-24V LOW VOLTAGE TRANSFORMER","Transformer",50322,null,"34-75241\n(25-75241)",null,"AT88A1005"]
[5,"053","053 - CAPS/RELAYS&TRANSFORMERS","50354","053 - G.P.TRAN..40VA,120/240/ TRANSFORMER","Transformer",50354,"4031F\n44504","34-40245\n(25-40245)","T1404","AT140A1018 AT40A1121 AT40A1139 AT40B1214","90-T40F3","90-504\n90-505","AHR40318FMW","SXT105\nSXT115","PF42440"]
[6,"053","053 - CAPS/RELAYS&TRANSFORMERS",50375,"053 - TRANS.75VA,115/208/575V TRANSFORMER","Transformer",50375,null,null,null,null,null,null,"AHR75346FMW",null,"PF57575"]
[7,"053","053 - CAPS/RELAYS&TRANSFORMERS","AT175A1008","053 - LV TRANS 75VA 120/240-24V LOW VOLTAGE TRANSFORMER","Transformer","50320\n50321\n50324\n50326",null,"34-75244\n(25-75244)",null,"AT88A1021\nAT88A1047\nAT175A1008","T75C3",null,null,null,"PF52475","on hand only in Timmins"]
[8,"053","053 - CAPS/RELAYS&TRANSFORMERS","AT20B1056","053 - L.V.TRANSF.20VAC/120V-24 LOW VOLTAGE TRANSFORMER","Transformer","50301\n50351\n50361",null,"34-20241\n(25-20241)","T40F1","AT10A1123\nAT20A1123",null,null,null,"SXT114","PF12420","on hand only in Timmins"]

{"sheet":"053 sources","index":3,"n_rows":12,"n_cols":14,"rows_kept":12,"cut":false,"hidden":false,"merged":[]}
["Manufacturer","Source 1 of SKU search (Start capacitor)","Source 2 of SKU search (Start capacitor)","Source 3 of SKU search (Run capacitor)","Source 4of SKU search (Run capacitor)","Source 5 of SKU search (Dual capacitor)","Source 6 of SKU search (Dual capacitor)","Source 7 of SKU search (Universal run  capacitor)","Source 8 of SKU search (Relay)","Source 9 of SKU search (Relay)","Source 9 of SKU search (Transformers)","Source 10 of SKU search (Transformers)"]
["DiversiTech  (ALLTEMP)","https://www.alltemp.ca/framework/uploads/2021/03/DOC132920-23.pdf ","https://www.alltemp.ca/product-category/capacitors/ ","https://www.alltemp.ca/framework/uploads/2021/03/DOC33027-13.pdf","https://www.alltemp.ca/framework/uploads/2021/03/DOC33028-17.pdf","https://www.alltemp.ca/framework/uploads/2021/03/DOC33026-9.pdf","https://www.alltemp.ca/framework/uploads/2021/03/DOC33025-20.pdf",null,"file:///C:/Users/IrynaNazarenko/Downloads/Alltemp%20Main%20page%20173.pdf\n\nfile:///C:/Users/IrynaNazarenko/Downloads/Alltemp%20Main%20page%20172%20(1).pdf\n\nhttps://media.diversitech.com/doc/DOC132921.pdf ",null,"file:///C:/Users/IrynaNazarenko/Downloads/Transformers%20(1).pdf ","file:///C:/Users/IrynaNazarenko/Downloads/Transformer%20Cross%20Ref%20(1).pdf"]
["ROTOM","http://www.buttspumpsandmotors.ca/pdf_files/Rotom/rotom99.pdf ","https://emotorpro.com/collections/vendors?q=Rotom&constraint=capacitor-type_start ","https://www.amresupply.com/part/6695398 ","https://www.amresupply.com/catalog/Capacitors-Start-635294-MG46-TL5L "]
["MARS","https://www.marsdelivers.com/images/98605_catalog/C-3.pdf ",null,"https://www.marsdelivers.com/images/98605_catalog/J-3.pdf ",null,null,null,"https://www.marsdelivers.com/images/98605_catalog/C-4.pdf","https://www.marsdelivers.com/images/98605_catalog/C-32.pdf",null,"https://www.marsdelivers.com/images/98605_catalog/C-21.pdf","https://www.marsdelivers.com/images/98605_catalog/C-23.pdf","https://www.sidharvey.com/documents/17019MA.pdf","https://www.marsdelivers.com/wps/wcm/connect/0b9a70e1-cc27-4fb5-9e89-12f1e5a98736/Product-X-Ref.pdf?MOD=AJPERES&CONVERT_TO=url&CACHEID=ROOTWORKSPACE-0b9a70e1-cc27-4fb5-9e89-12f1e5a98736-mltrAyJ"]
["JARD","https://www.marsdelivers.com/images/MARSResources/JARD_cross_reference.pdf ","https://www.rsl.ca/Catalog/hvacr-parts/electrical-controls/capacitors?brandIds=4732073a-2508-ed11-aa23-ef1fd0ffe4f6&attributeValueIds=e26c22f6-323f-479a-80d3-aa37011d1756 ",null,null,null,null,null,"https://www.marsdelivers.com/images/98605_catalog/J-9.pdf","https://www.marsdelivers.com/images/98605_catalog/C-31.pdf "]
["DAYTON","https://www.grainger.com/category/motors/motor-capacitors/motor-start-capacitors?attrs=Motor+Capacitor+Type%7CMotor+Start+Capacitor&brandName=DAYTON&filters=attrs,brandName&redirect=true ","https://www.grainger.com/content/general-catalog?pagelabel=63&search=2MDR8","https://www.grainger.com/content/general-catalog?pagelabel=64&search=2MEC1","https://www.grainger.com/content/general-catalog?pagelabel=64&search=6FLN2",null,null,"https://www.grainger.com/content/general-catalog?pagelabel=64&search=6FLN2"]
["SUPCO","https://supco.com/web/supco_live/product_subcategory.php?department=1&category=3"]
["Packard","https://view.publitas.com/d610e5d1-a2a3-4ef6-84f5-233716235532/2018-packard-catalog/page/362"]
["EMERSON (White Rogers)",null,null,null,null,null,null,null,"https://www.copeland.com/documents/90-340-thru-90-342-relays-catalog-en-1594880.pdf?_gl=1*aqdrm6*_ga*MTM4NDEzMjk5My4xNzEwMjc1MTM2*_ga_NW3KVPE6D0*MTcxMDI3NTEzNS4xLjEuMTcxMDI3NTI4OS4wLjAuMA.. "]
["HONEYWEL",null,null,null,null,null,null,null,"\n\nhttps://www.sidharvey.com/documents/17019MA.pdf","https://d3nq8rpsskbdh6.cloudfront.net/userfiles/documents/re/la/ys/relays-honcatalogue.pdf "]
["REGAL"]
["ZETLER",null,null,null,null,null,null,null,"https://www.zettlercontrols.com/products/pdfs/az9401.pdf ",null,"https://www.zettlermagnetics.com/pdfs/ahr.pdf"]